## Sheet1 (AL)
|  | # | Supplier | CHF
Option Mixing unit only
Material | NV | 4 | Trigress | 640
| connectors/pipe | 1 | cern store | 916
| tee welding | 14 | DMD raccord inox | 700
| mixing tube | 1 | Festo | 250
| orbital welding | 1 | material for orbital welding | 300
| rack panels | 2 | cern store | 100
| mechanics/elec | 1 | cern store | 408.4
| rotameter | 1 | cern store | 148
| glass for flowmeter | 1 | cern store | 120
| valve for flowmeter | 1 | cern store | 100
| HV-2 | 7 | manual valve Rotarex | 700
| HV-3 | 1 | manual valve Rotarex | 120
| MFCs | 4 | Bronkhorst EX-ATEX | 9600
| MFC power supply | 1 | power supply RS | 500
Manpower | Mechanical | 20h |  | 1500
| Electrical | 10h |  | 500
| Cleaning | 1 |  | 1000
Tot |  |  |  | 17602.4
Option pressure regulators
| Pressure regulator | 3 | Tescom | 1500
Option Humidifier basic (no analysis, all manual with rotameters)
| HV | 6 | manual valve Rotarex | 600
| rotameter | 2 | cern store | 296
| glass for flowmeter | 2 | cern store | 480
| valve for flowmeter | 2 | cern store | 200
| mixing tube | 2 | Festo | 500
| connectors/pipe | 1 | cern store | 350
| orbital welding | 1 | material for orbital welding | 100
| tee welding | 3 | DMD raccord inox | 150
Manpower | Mechanical | 6.5h |  | 500
| Electrical | 0 |  | 0
| Cleaning | 1 |  | 200
Tot |  |  |  | 3376
Option Humidifier (no analysis, MFCs autocontrolled)
| HV | 6 | manual valve Rotarex | 600
| MFCs | 3 | Bronkhorst EX-ATEX | 4540
| mixing tube | 2 | Festo | 500
| connectors/pipe | 1 | cern store | 350
| orbital welding | 1 | material for orbital welding | 100
| tee welding | 3 | DMD raccord inox | 150
Manpower | Mechanical | 6.5h |  | 500
| Electrical | 2h |  | 100
| Cleaning | 1 |  | 200
Tot |  |  |  | 7040
Option Humidity measurement basic
| HIH4000 | 1 | Honeywell (+/- 3.5% RH) | 100
|  | 1 | power supply | 50
|  | 1 | display | 100
| support box | 1 |  | 150
Manpower | Mechanical | 5h |  | 400
| Electrical | 2h |  | 100
| Cleaning | 1 |  | 100
Tot |  |  |  | 1000
Option Humidity measurement full
| Vaisala | 1 | Vaisala DMT242 +/- 2 C | 2000
|  | 1 | power supply | 50
|  | 1 | display | 100
Manpower | Mechanical | 5h |  | 400
| Electrical | 2h |  | 100
| Cleaning | 1 |  | 100
Tot |  |  |  | 2750