Butane

Density: 2.48 kg/m³

2.48g/litre

2litres /hr

3% is 0.06litres is 0.074g/hr ie 100 g gives 1350hrs