RE4 Component list for test assembly in Mar. 2011

| Items | Components | Production site or CERN catalog SCEM number | Amount for one chamber /six chambers | status | Comment |
| --- | --- | --- | --- | --- | --- |
| Detector components |  |  |  |  |  |
| 1 | Gas-gaps | Produced in Korea | 3/18 | ok | In ISR |
| 2 | honeycomb box | Produced in China | 1/6 | ok | In ISR |
| 3 | Readout strip | Produced in China | 1/6 | ok | In ISR |
| 4 | Copper + mylar sheets | Produced in China | 3/18 | ok | In ISR |
| 5 | Screen box | Produced in China | 1/6 | ok | In ISR |
| 6 | Gas-gaps fixation L-brackets | Produced at CERN workshop | 4/24 | 16 missing | See Jean-Paul (Luc’s drawings: l-r2(3)-left-bottom.pdf, l-r2(3)-left-top.pdf, l-r2(3)-right-bottom.pdf, l-r2(3)-right-top.pdf) |
| 7 | Plexiglass Gas-gaps spacers (with holes) | Produced at CERN workshop | 3/18 | 12 missing | See Jean-Paul (Luc’s drawings: plexi-r2(3)-bottom.pdf, plexi-r2(3)-mid.pdf, plexi-r2(3)-top.pdf) |
| 8 | Patch panels | Produced at CERN workshop | 2/12 | 10 missing | See Jean-Paul (Luc’s drawings: l-profile-r4-ring2(3).pdf l-profile-small-ring2(3).pdf Note: HV connector holding slot should be modified to 3-pin connector) |
| 9 | insulation mylar between HCP and gas gaps | Produced at ISR | 2/12 | 10 missing | (Luc’s drawings: mylar1-r2(3).pdf, mylar5-r2(3).pdf) (see item 18) |
| 10 | gas outlet block pipes | Produced at ISR | 4/24 | ok | In ISR (Yong’s drawings in “RE4_gaspipe-design.ppt”) |
| 11 | Gas pipe (between gaps and from gap to patch panel) | Produced at ISR | 6/36 | 24 missing | (Yong’s drawings in “RE4_gaspipe-design.ppt”) (see item 15) |
| 12 | Cooling + FEB holding unit | Produced at CERN workshop | 1/6 | 6 missing | See Jean-Pau(Luc’s drawings: piping-cooling-ring2(3).pdf, piping-cooling-ring2(3)-rep.pdf bend-pipe-r2(3).pdf, cu-pipe8-r2(3).pdf, cu-plate-big-ring2(3).pdf, cu-plate-small-ring2(3).pdf piper2(3)-elb.pdf) |
| Mechanical accessories |  |  |  |  |  |
| 13 | Legris ferrule unions and accessories | 41.34.31.656.8 41.34.35.406.8 41.34.35.120.9 | 4/24 4/24 4/24 | ok | For gas pipe |
| 14 | Legris bulkhead unions | 41.34.06.510.0 | 4/24 | ok | For gas pipe (On patch pane)l |
| 15 | Ф6 Plastic gas pipe |  | 4m/24m | ok | In ISR |
| 16 | Legris ferrule unions and accessories | 41.34.31.658.6? 41.34.35.408.6? 41.34.35.123.6? | 2/12? |  | For cooling pipe |
| 17 | Legris bulkhead unions | 41.34.06.513.7? | 2/12 | ? | For cooling pipe (on patch panel) |
| 18 | Mylar sheets | 44.84.50.390.0 | 175μm thick,1232mm wide | ok | In ISR |
| 19 | M6×12 screws | 47.62.70.742.8 | ~70/210 (RE4/2) ~80/240 (RE4/3) | ok | Assembled in honeycomb box |
| 20 | M6 washer | 47.78.12.060.6 | 20/120 | ok | In ISR |
| 21 | M5×6 screws | 47.62.71.200.9 | 30/180 | ? | Used inside chamber or on panel surface (Hexagon socket head cap screws) |
| 22 | M5 washer | 47.78.12.050.8 | 20/120 | ok | In ISR |
| 23 | M3×16 screws | 47.62.32.316.4 | 12/72 | ? | Fix 40 pin plug on patch panel |
| 24 | M3 nuts | 47.41.65.030.8 | 12/72 | ? | Fix 40 pin plug on patch panel |
| 25 | M3 washer | 47.78.12.030.2 | 12/72 |  | Fix 40 pin plug on patch panel |
| 26 | M3×4 screws |  | 12/72 |  | Fix FEB to copper plate |
| 27 | M3×8 plastic screws |  | 12/72 | ? | Fix FEB to copper plate |
| 28 | Ф3.2×3mm plastic washers |  | 12/72 |  | For FEB? |
| Electronics components |  |  |  |  |  |
| 29 | FEBs | Made in Italy | 3/18 | 18 missing | Order? |
| 30 | FEB insulation mylars | Produced at ISR | 3/18 | 18 missing | Put between FE board and copper supporting plate, produced in ISR |
| 31 | distribution board | Made in Italy | 1/6 | 6 missing | Order? |
| 32 | 3 pin HV connector | Made in Italy | 1/6 | ok | In ISR |
| 33 | STYCAST glue 2651-40 /CATALYST 23LV | company? |  |  | To make HV connector (ratio: 100:18) |
| 34 | Copper screen braids for HV and ground wires | 04.01.31.006.7 | ~5m/30m | ok | In ISR |
| 35 | Heat shrinkable tube | 04.86.62.110.3 (d3mm) 04.86.62.110.5 (d5mm) | ~1m/6m | ? | order |
| 36 | ground wires |  | ~2m/12m | ok | In ISR (4 ground connections to the same spot outside chamber in RE1 assembly: 1.from copper sheet, 2. From distribution board 0V, 3. From HV cable screen braids, 4. From HV connector ground |
| 37 | Signal flat cable with two connectors | Produced at ISR | 6/36 | missing | See item 41,42,43,44,45 |
| 38 | FEB LV cable with 4 connectors | Produced at ISR | 1/6 | missing | See item 40,46,47 |
| 39 | Adopter soldered with 16 co-ax wires with ferrules mounted | Produced at ISR? | 6/36 | missing | See item 48,49,50 |
| 40 | 26 pin twisted pair flat cable | 04.21.22.426.8 | ~2m/12m | no | For LV power |
| 41 | 40 pin twisted pair flat cable | 04.21.22.440.0 | ~10m/60m | no | For FEB signal |
| 42 | 40 pin socket flat cable connector | 09.55.03.340.4 | 6/36 | no | FEB end |
| 43 | 40 pin socket flat cable connector | 09.55.03.440.1 | 6/36 | no | Anti-traction loop for female cable socket (FEB end) |
| 44 | 40 pin plug flat cable connector | 09.55.04.540.4 | 6/36 | no | Male cable plug with securing feet (patch panel end) |
| 45 | 40 pin plug flat cable connector | 09.55.04.740.8 | 6/36 | no | Anti-traction loop (patch panel end) |
| 46 | 26 pin socket flat cable connector | 09.55.03.326.2? | 4/24 | no | Connecting FEBs |
| 47 | 26 pin socket flat cable connector | 09.55.03.426.9? | 4/24 | no | Anti-traction loop for female cable socket (Connecting FEBs) |
| 48 | Coax cable | 04.61.11.110.6? | ~80m/480m | no | Coax cable C-50-1-2 50 Ohm ACI |
| 49 | Adapter board | From company? | 6/36 | no | See Ian |
| 50 | ferrules | From company? | 96/576 | no | See Ian |
| Tooling and consuming materials |  |  |  |  |  |
| 51 | 6 soldering protection strips | Made in ISR | for all chambers | missing 5 | Copper glued to thick mylar strips |
| 52 | Pipe heat bending tools | Made by Jean-Paul |  | ok | In ISR |
| 53 | Loctite 245 glue (blue) | 37.30.35.074.3? |  |  | Fix gas unions on patch panel |
| 54 | Soldering tin | 29.20.01.362.9? |  |  | Tin-lead-silver wire of welding for electronics |
| 55 | Conductive copper tape | 04.95.20.112.8 |  |  | Seal copper ground (not needed if using solder) |
| 56 | Conductive Aluminum tape | 04.95.20.150.9 |  |  | Seal screen box |
| 57 | Plastic insulation tape | 04.94.20.213.0 04.94.20.225.6 |  |  | Cover slots in honeycomb panel, L fixation brackets, HV slots etc. |
| 58 | Paper tape | 04.95.45.225.0 04.95.45.251.8 |  |  | Low adhesive |
| 59 | Cleaning paper | 55.60.82.150.2 |  | ok | In ISR |
| 60 | Cleaning solution | ? |  |  |  |