## Chamber 2&3
RE4 Component list
CONTENTS MUST BE VERIFIED BY ISR construction team
NON VERIFIED Transcription
Items | Component desciption | Production site or | [13 empty] | Drawings ?
|  | Source |  | Quantity for 1 chamber | Units |  |  |  | Qty to order for 170 chambers | Cost for 170 ch | Expected delivery
|  | CERN catalog SCEM number | Reference |  | [pieces, g or m] | Cost for 1 chb (Chf) |  | Order EDH + Date |  | [chf] | Delivered to CERN for 170Chb | Available in ISR/904 | Stock at CERN | In Stock in Belgium | In Stock in India
1 | Gas-gap | Produced in Korea | Drawings | 3 | pieces |  | NA | - | 510 | 0
2 | honeycomb box | Produced in China | Drawings | 1 | pieces |  | NA | - | 170 | 0
3 | Readout strip | Produced in China | Drawings | 1 | pieces |  | NA | - | 170 | 0
4 | Copper + mylar sheets | Produced in China | Drawings | 3 | pieces |  | NA | - | 510 | 0
5 | Screen box | Produced in China | Drawings | 1 | pieces |  | NA | - | 170 | 0
6 | Gas-gaps fixation L-brackets (4 types) | Made in Institute for RE4/2 | Drawings | 4 | pieces | 40 |  | - | 680 | 6800
6a | Bakelite 0.5mm x ??mm | Produced in India (4/2) | Drawings | 1 | pieces | 4.5 |  | - | 170 | 765
7 | Plexiglass Gas-gaps spacers (with holes) | Made in Institute for RE4/2 | Drawings | 3 | pieces |  | NA | - | 510 | 0
8 | Patch panels | Made in India for RE4/2 | Drawings | 1 | pieces | 20 |  | - | 170 | 3400
8b | Patch panels HV Jupitor | Made in India for RE4/2 | Drawings | 1 | pieces | 20 |  | - | 170 | 3400
9 | Insulation mylar between HCP&gas gaps 175µ Wdth1220 | Made in Institute for RE4/2 | 44.84.50.390.0 | 6 | m | 41 | 6.828Chf/m | 4923483-11/04/12 | 510 | 6970 | to buy 8 rolls of 50m |  |  |  | In Stock
10 | LDPE gas pipe plugged outlet with Hot Melt | EVA copolymer | eg Pattex PTK 1, 6 or 56 | 4 | pieces | 2 |  | to be purchased | 680 | 340
6b | Gas-gaps fixation L-brackets | Made in Institute for RE4/3 | Drawings | 6? | pieces |  | NA | - | #VALUE! | 0
6bb | Bakelite 0.5mm | Produced in India (4/3) | Drawings | 1 | pieces | 4.5 |  | - | 170 | 765
7a | Plexiglass Gas-gaps spacers (with holes) | Made in Institute for RE4/3 | Drawings | 4? | pieces |  | NA | - | #VALUE! | 0
8a | Patch panels | Made in India for RE4/3 | Drawings | 1 | pieces | 20 |  | - | 170 | 3400
8c | Patch panels HV Jupitor | Made in India for RE4/3 | Drawings | 1 | pieces | 20 |  | - | 170 | 3400
9a | Insulation mylar between HCP&gas gaps 175µ Wdth1300 | Made in Institute for RE4/3 | 44.84.50.390.0 | 6 | m | xxx |  | 4923483-11/04/12 |  | #VALUE! | to buy 11 rolls of 50m
11
12 | Copper Cooling FEB plates | Produced in India for RE4/2 | Drawings | 1 | pieces | 565 |  | - | 170 | 96050 | [5 empty] | RE4_gaspipe-design.ppt)
12a | Copper Cooling FEB plates | Produced in India for RE4/3 | Drawings | 1 | pieces | 620 |  | - | 170 | 105400 | [5 empty] | RE4_gaspipe-design.ppt)
|  |  | Sub Total |  |  | 1357
Mechanical | [15 empty] | See Jean-Paul (Luc's drawings:
accessories | [15 empty] | l-profile-r4-ring2(3).pdf
l-profile-small-ring2(3).pdf
13 | Legris ferrule unions Gas int insert Ø6-4 RE4/2 | CERN SCEM No: | 41.34.31.656.8 | 8 | pieces | 0.56 |  | 4764975 - 11/10/11 | In stock | 95.2
13a | Legris ferrule unions Gas ext ring for Ø6 RE4/2 | CERN SCEM No: | 41.34.35.406.8 | 8 | pieces | 0.8 |  | 4764975 - 11/10/11 | In stock | 136
13b | Legris ferrule unions Gas nut for Ø6 RE4/2 | CERN SCEM No: | 41.34.35.120.9 | 8 | pieces | 2.24 |  | 4764975 - 11/10/11 | In stock | 380.8
14 | Legris bulkhead unions for Ø6 RE4/2 | CERN SCEM No: | 41.34.06.510.0 | 4 | pieces | 16.8 |  | 4764975 - 11/10/11 | 280 | 2856
15 | Ø6mm LDPE gas pipe RE4/2 | Angst pfister ref. | A03.758241.001 FT 12 1001 0604 | 6 | m | 1.32 |  | 4766561 - 11/10/11 | ok bldg 28 | 224.4 |  |  | In stock
13 | Legris ferrule unions Gas int insert Ø6-4 RE4/3 | CERN SCEM No: | 41.34.31.656.8 | 8 | pieces | 0.56 |  | 4764975 - 11/10/11 | In stock | 95.2
13aa | Legris ferrule unions Gas ext ring for Ø6 RE4/3 | CERN SCEM No: | 41.34.35.406.8 | 8 | pieces | 0.8 |  | 4764975 - 11/10/11 | In stock | 136
13bb | Legris ferrule unions Gas nut for Ø6 RE4/3 | CERN SCEM No: | 41.34.35.120.9 | 8 | pieces | 2.24 |  | 4764975 - 11/10/11 | In stock | 380.8
14a | Legris bulkhead unions for Ø6 RE4/3 | CERN SCEM No: | 41.34.06.510.0 | 4 | pieces | 16.8 |  | 4764975 - 11/10/11 | 280 | 2856
15a | Ø6mm LDPE gas pipe RE4/3 | Angst pfister ref. | A03.758241.001 FT 12 1001 0604 | 6 | m | 1.32 |  | 4766561 - 11/10/11 | ok bldg 28 | 224.4 |  |  | In stock
| Cooling Bulkhead brass Union Sagana Ø8mm | CERN SCEM No: | 41.35.06.513.1 | 4 | pieces | 25.6 |  | 4764975 - 11/10/11 | Given to Lalit | 4352
16a | Spare Sagana front brass ferrule for Ø8mm | CERN SCEM No: | 41.35.43.008.5 | 8 | pieces | 0.67 |  | 4923483 - 11/04/12 | 5%= 70 | 113.9
16b | Spare Sagana rear brass ferrule for Ø8mm | CERN SCEM No: | 41.35.43.058.5 | 8 | pieces | 0.55 |  | 4923483 - 11/04/12 | 5%= 70 | 93.5
17 | Spare brass nut Sagana for Ø8mm | CERN SCEM No: | 41.35.43.108.2 (0,6CHF/Pc) | 8 | pieces | 2.4 |  | 4764975 - 11/10/11 | 5%= 70 | 408 | [5 empty] | (see item 18)
19 | M6×12 Conical Allen Stainless steel A2 screw RE4/2 | Bossard | BN 616 - 1235346 | 68 | pieces | 22.98 | 26.8Chf for 100 | 4768406 - 13/10/11 | 5780 | xx
19a | M6×12 Conical Allen Stainless steel A2 screw RE4/3 | Bossard | BN 616 - 1235346 | 80 | pieces | 27.04 | 26.8Chf for 100 | 4768406 - 13/10/11 | 6800 | xx
20 | M6 Stainless steel A4 flat washer | CERN SCEM No: | 47.78.15.006.0 / BN 671-1755579 | 20 | pieces | 0.8 | 2.5Chf for 100 | 4768406 - 13/10/11 | 3400 | 136
20a | M5x8 Conical head stainless A2 screw front PP to chb | should be M5x6 mm!!!! | BN 616 - 1208187 | 6 | pieces |  | 29.2Chf for 100 |  | 1020
21 | M5×6 Cyl head Allen Stainless A4 screw (gap retainer & Ext panel) | CERN SCEM No: | 47.62.71.200.9 / BN 612 - 1670697 | 30 | pieces | 2.4 | 5.2Chf for 100 | 4768406 - 13/10/11 | 5100 | 408
22 | M5 Stainless steel A4 flat washer | CERN SCEM No: | 47.78.15.005.1 / BN 671 - 1253387 | 20 | pieces | 0.4 | 1.6Chf for 100 | 4768406 - 13/10/11 | 3400 | 68
23 | M3×10 Cyl Stainless A4 Allen screw Signal connector to PP | CERN SCEM No: | 47.62.71.104.8 / BN 612 - 1233807 | 12 | pieces | 0.48 | 4.6Chf for 100 | 4768406 - 13/10/11 | 2040 | 81.6
24 | M3 Stainless steel A4 flat washer | CERN SCEM No: | 47.78.15.003.3/BN 671 - 1253360 | 12 | pieces | 0.12 | 1Chf for 100 | 4768406 - 13/10/11 | 2040 | 20.4
25 | M3 Stainless steel A4 Hex nut | CERN SCEM No: | 47.43.77.030.3 / BN 629-1241613 | 12 | pieces | 0.36 | 2Chf for 100 | 4768406 - 13/10/11 | 2040 | 61.2
26 | M3x12 Nylon PA-6.6 Hex head screw | Bossard | BN 80 - 8118035 | 12 | pieces | 0.48 | 12.9Chf for 100 | 4924106 - 12/04/12 | 2040 | 81.6 | 2500 Pcs
27 | M3 Nylon PA - 6.6 washer | CERN SCEM No: | 47.78.78.030.8 / BN 1075 - 1404938 | 36 | pieces | 0.5 | 1.45Chf for 100 | 4768406 - 13/10/11 | 6120 | 85
28 | M3 Nylon PA-6.6 nut | Bossard | BN 81 - 1400401 | 36 | pieces |  | 2.8Chf for 100 |  | 6120
|  |  | Sub Total |  |  | 128.22
Electronics components
29 | FEBs | Made in Pakistan |  | 3 | pieces |  | NA | - | 510 | 0
30 | FEB insulation mylars RE4/2 | Made in Institute | Drawings | 3 | pieces |  | NA | - | 510 | 0
30a | FEB insulation mylars RE4/3 | Made in Institute | Drawings | 3 | pieces |  | NA | - | 510 | 0
31 | Distribution board | Made in Pakistan |  | 1 | pieces |  | NA | - | 170 | 0
32 | 3 pin HV CPE Male panel connector | CPE | 28.000.512-019 | 1 | pieces | 26.25 | In stock |  | ok bldg 28 | 4462.5
33 | STYCAST glue 2651-40/Catalyst | Abovo AG (CH) | voir EDH 4586561 | 20 | g | 2.92 | 3 In stock | 4772884 - 18/10/11 | 3400 | 496.4
33a | HV Jupitor Chassis male | CPE | 23.100.152-040 | 3 | pieces | 30.75 | In stock |  | ok bldg 28 | 5227.5
34a | Screening tinned copper | CERN SCEM No: | 04.01.33.050.5 | 5 | m | 9 | 1.8Chf/m
34b | Braided nylon wrap Ø8mm | CERN SCEM No: | 04.86.45.026.6 | 5 | m | 3.35 | 0.67Chf/m | 4768957 - 13/10/11
34c | Panduit cable ties 2.5 x 99mm | CERN SCEM No: | 04.76.81.700.8 | 6 | pieces | 0.078 | 1.3Chf for 100 |  | 1020
34d | Panduit support 19 x 19mm | CERN SCEM No: | 04.76.81.805.0 | 6 | pieces | 0.52 | 8.7Chf for 100
34e | Locking extractor type 3505-17 | CERN SCEM No: | 09.55.04.610.7 | 12 | pieces | 2.73 | 45.5Chf for 200 |  | 12 bags of 200
35 | Heat shrinkable tube (Ø4.8/2.4mm) | CERN SCEM No: | 04.86.62.110.3 (d3mm) | 1 | m | 1.8 | 1.8Chf/m | 4768957 - 13/10/11 | 170 | 306
35a | Heat Shrinkable with adhesive Ø12-4mm | Raytronics AG | ATUM-12/4-0 voir EDH 4614881 | 0.6 | m | 5.13 |  | 4772929 - 18/10/11 | 102 | 872.1
35b | Heat Shrinkable Ø12.5mm | CERN SCEM No: | 04.86.62.130.9 | 2 | m | 6.2 | 3.1Chf/m | 4768957 - 13/10/11 | 340 | 1054
36 | ground wires (Green) dist board | CERN SCEM No: | 04.01.61.610.8 | 0.25 | m | 0.1 | 0.38Chf/m | 4768957 - 13/10/11 | 42.5 | 17
36a | ground wires (Red) Sig ref/Farady cage | CERN SCEM No: | 04.01.61.670.6 | 0.25 | m | 0.1 | 0.39Chf/m | 4768957 - 13/10/11 | 42.5 | 17
36b | ground wires (White) Shield HV | CERN SCEM No: | 04.01.61.680.4 | 1 | m | 0.39 | 0.395Chf/m | 4768957 - 13/10/11 | 170 | 66.3
36c | ground wires (Black) 0V of HV line to ground | CERN SCEM No: | 04.01.61.640.2 | 1 | m | 0.39 | 0.39Chf/m | 4768957 - 13/10/11 | 170 | 66.3
40 | 26 pin twisted pair flat cable LV RE4/2 | CERN SCEM No: | 04.21.22.426.8 | 2.5 | m | 20.97 | 8.39Chf/m | 4768957 - 13/10/11 | 425 | 3564.9
41 | 40 pin twisted pair flat cable RE4/2 | CERN SCEM No: | 04.21.22.440.0 | 6 | m | 72.42 | 12.07Chf/m | 4768957 - 13/10/11 | 1020 | 12311.4
42 | 40 pin socket flat cable connector (FEB end) RE4/2 | CERN SCEM No: | 09.55.03.340.4 | 6 | pieces | 10.8 | 1.8Chf/pc | 4768957 - 13/10/11 | 1020 | 1836
43 | 40 pin socket flat cable connector (FEB end) RE4/2 | CERN SCEM No: | 09.55.03.440.1 | 6 | pieces | 1.32 | 0.22Chf/pc | 4768957 - 13/10/11 | 1020 | 224.4
44 | 40 pin plug flat cable connector (PP end) RE4/2 | CERN SCEM No: | 09.55.04.540.4 | 6 | pieces | 35.4 | 5.9Chf/pc | 4768957 - 13/10/11 | 1020 | 6018
45 | 40 pin plug flat cable connector (PP end) RE4/2 | CERN SCEM No: | 09.55.04.740.8 | 6 | pieces | 8.7 | 1.45Chf/pc | 4768957 - 13/10/11 | 1020 | 1479
46 | 26 pin socket flat cable connector LV RE4/2 | CERN SCEM No: | 09.55.03.326.2 | 4 | pieces | 20.6 | 5.15Chf/pc | 4768957 - 13/10/11 | 680 | 3502
47 | 26 pin socket flat cable connector LV RE4/2 | CERN SCEM No: | 09.55.03.426.9 | 4 | pieces | 0.88 | 0.22Chf/pc | 4768957 - 13/10/11 | 680 | 149.6
40a | 26 pin twisted pair flat cable LV RE4/3 | CERN SCEM No: | 04.21.22.426.8 | 2.5 | m | 20.97 | 8.39Chf/m | 4768957 - 13/10/11 | 425 | 3564.9
41a | 40 pin twisted pair flat cable RE4/3 | CERN SCEM No: | 04.21.22.440.0 | 6 | m | 72.42 | 12.07Chf/m | 4768957 - 13/10/11 | 1020 | 12311.4
42a | 40 pin socket flat cable connector (FEB end) RE4/3 | CERN SCEM No: | 09.55.03.340.4 | 6 | pieces | 10.8 | 1.8Chf/pc | 4768957 - 13/10/11 | 1020 | 1836
43a | 40 pin socket flat cable connector (FEB end) RE4/3 | CERN SCEM No: | 09.55.03.440.1 | 6 | pieces | 1.32 | 0.22Chf/pc | 4768957 - 13/10/11 | 1020 | 224.4
44a | 40 pin plug flat cable connector (PP end) RE4/3 | CERN SCEM No: | 09.55.04.540.4 | 6 | pieces | 35.4 | 5.9Chf/pc | 4768957 - 13/10/11 | 1020 | 6018
45a | 40 pin plug flat cable connector (PP end) RE4/3 | CERN SCEM No: | 09.55.04.740.8 | 6 | pieces | 8.7 | 1.45Chf/pc | 4768957 - 13/10/11 | 1020 | 1479
46a | 26 pin socket flat cable connector LV RE4/3 | CERN SCEM No: | 09.55.03.326.2 | 4 | pieces | 20.6 | 5.15Chf/pc | 4768957 - 13/10/11 | 680 | 3502
47a | 26 pin socket flat cable connector LV RE4/3 | CERN SCEM No: | 09.55.03.426.9 | 4 | pieces | 0.88 | 0.22Chf/pc | 4768957 - 13/10/11 | 680 | 149.6
[9 empty] | 0 | 0
49 | Adapter board | Pakistan | XXXXXXX | 6 | pieces |  | NA | 4768957 - 13/10/11 | 1020 | 0
50 | ferrules 09.46.11.195.9 (Adapter End) | CERN SCEM No: | 09.46.11.195.9 | 96 | pieces | 100.8 | 1.05Chf/pc | 4768957 - 13/10/11 | 16320 | 17136
|  |  | Sub Total |  |  | 532.688
Materials
53 | Orapi thread locking compound (blue 303) eq Loctite 245 | CERN SCEM No: | 37.30.35.074.3 (remov assembly) | 0.01 | bottle | 0.27 | 50ml bottle | 4776543 - 21/10/11 | 3 (1 per site) | 45.9
54 | Soldering tin (Pb62% Sn36% Ag2%) Ø1,2 Lgth 40m | CERN SCEM No: | 29.20.01.362.9 (27,58CH/Roll) | 2 | m | 1.5 |  | 4776543 - 21/10/11 | 340 (9 rolls) | 255
| Soldering water | CERN SCEM No: | 29.30.01.110.0 (34.5Chf/1L bottle) | 1 | bottle |  | 1L/institute |  | 3 (1 per institute)
55 | Conductive copper tape Width 25mmm Lgth 16m | CERN SCEM No: | 04.95.20.125.3 | 4 | m | 10.2 | 45 rolls | 4776543 - 21/10/11 | 680 | 1734
56 | Conductive Aluminum tape width 50mm Lgth 55m | CERN SCEM No: | 04.95.20.250.9 | 8 | m | 9.24 | 28 rolls | 4776543 - 21/10/11 | 1360 | 1570.8
57 | Plastic insulation yellow tape width 25mm Lgth 66m | CERN SCEM No: | 04.94.20.225.6 | 2 | m | 0.42 | 7 rolls | 4776543 - 21/10/11 | 340 | 71.4
57a | Kapton tape width 25mm Lgth 33m | CERN SCEM No: | 04.94.70.125.4 | 5 | m | 1.88Chf/m | 28 rolls |  | 850
58 | Cotton plasticised Tape 25mm x 0,3 black Lgth 25m | CERN SCEM No: | 04.95.40.625.8 | 4 | m | 3.76 | 28 rolls | 4776543 - 21/10/11 | 680 | 639.2
58a | Paper tape width 50mm x 0,12 Lgth 50m | CERN SCEM No: | 04.95.45.251.8 | 1 | m | 0.1 | 5 rolls | 4776543 - 21/10/11 | 170 | 17
58b | Double stick tape 12mm x 0,1 Lgth 50m | CERN SCEM No: | 04.95.60.213.4 | 3 | m | 0.41 | 12 rolls | 4776543 - 21/10/11 | 510 | 69.7
58c | Double stick tape 50mm x 0,1 Lgth 100m | CERN SCEM No: | 04.95.60.251.8 | 2 | m | 1.08 | 4 rolls | 4776543 - 21/10/11 | 340 | 183.6
59 | Cleaning paper (1 roll/10 chbers) | CERN SCEM No: | 55.60.82.150.2 | 0.1 | roll | 0.7 | 15 rolls | 4776543 - 21/10/11 | 17 | 119
60 | Cleaning solution Heavy degreaser TeePol 5L can= 10Chb | CERN SCEM No: | 58.81.12.101.1 | 0.5 | litre | 1.4 |  | 4776543 - 21/10/11 | 85 | 238
62 | Cleaning solution Dielectric cleaner A-KUR 0.75l/bottle | CERN SCEM No: | 58.81.20.100.6 | 0.5 | litres | 8 |  | 4776543 - 21/10/11 | 85 | 1360
|  |  | Sub Total |  |  | 37.08
|  |  | TOTAL |  |  | 2054.988
Tooling
51 | 6 soldering protection strips | Made in Institute | Cu & MylaR 200microns |  | pieces
52 | LDPE Pipe bending tools RE4/2 | Made in Institute | drawings |  | pieces
52a | LDPE Pipe bending tools RE4/3 | Made in Institute | drawings |  | pieces
53 | Torque wrench 20Nm |  |  | 1 | pieces |  |  | 4767239 - 12/10/11
| Hot melt Gun | ??? | ???
Crimping for Jupitor
Input from JFP & IMC 11 April 2012

## SuperModule
63 | Alu "A" Frame
64 | M8 Securing screws | CERN SCEM No:
65 | Reinforcement bars
66 | Lifting Bolts | CERN SCEM No:
67 | Lifting Eyes
68 | Inter gas connexions
Legris Unions
LDPE Pipe
69 | Inter cooling connexions
Sagana 8mm
8mm Cu pipe
70 | Cable clamps for RE4/3
Protective inter chamber cover
Lifting Fixture
Input from Ian 11 Oct 2011