**Cooling Jig for QC4 in 904.**

Mobile rack Found

ADC & 35bar pressure sensor. 500chf

Analogue manometer found

4 valves 200chf

Safety valve 150

Bottle N2 and regulator 35 + found

PC/screen/keyboard 650/180/found

Piping/unions found/200

Total Approx 2kchf

Ian Crotty

15 Jan 2012