- ISIEC – Initial Safety information on Experiments at CERN

purpose of this template

This document shall be completed by the GLIMOS of an experimental collaboration, whenever it intends to bring new experimental apparatus, new test beams or make major modifications to experimental apparatus already operating at CERN.

The purpose of this document is to provide a summary description of the equipment that is to be brought to CERN and the activities that are to be carried out. This document will then allow the PH Safety Office (PH-SO) to perform an initial safety assessment; i.e. identification of the applicable safety requirements, control measures, etc.

This ISIEC document will serve as a basis for the safety information on an experiment. Further documentation may be requested to improve the understanding of safety hazards.

For each experimental apparatus, the following procedure applies:

- The GLIMOS shall fill in chapters 1 to 4.

- The GLIMOS shall submit this document (ISIEC form) to the PH Unit

sps.coordinator@cern.ch and dso-ph@cern.ch

- Recommendations and procedures will follow after the provision of this document. Note that if the experiment is considered to have major safety implications then the CERN HSE unit will become involved and their safety procedures will then be followed.

- A Launch Safety Discussion may be called for by the PH-SO. This will take place on site with representatives of the experiment, PH-SO, the HSE Unit and other CERN Departments.

- A formal ‘Safety Clearance’ of the experiment must be given prior to the experiment being allowed to start operating (for example to receive beam).

Please note that this form must be completed and sent to CERN prior to the arrival of the planned experiment. Work will not be allowed to start until this form, and any requested complementary information on safety hazards, has been completed and handed over as explained above.

Please complete the following:

NAME OF THE EXPERIMENT: CMS RPC GIF++ Ageing

Filled out by: Ian Crotty	164414

Date: 20 March 2015

# Introduction

The purpose of this document is to provide a description of the experimental program/test beam to be carried out at CERN; i.e.:

- to identify the equipment brought to CERN;

- to identify activities to be carried out at CERN;

- to identify hazards associated to the equipment and activities and the measures to be implemented in order to eliminate, control or mitigate them.

- Please enter the information in the empty cells of the tables below:

## Organization of the Collaboration

| Role | Name | Phone/e-mail |
| --- | --- | --- |
| Spokesperson | Tiziano.Camporesi@cern.ch | 160404 |
| Technical coordinator | Austin Ball | 160408 |
| GLIMOS | Niels du Pont | 165186 |
| SPS Coordinator | Henric Wilkens | 16-3845 spsco@cern.ch |
| DSO-PH | Mark Hatch | dso-ph@cern.ch |
| Liaison Physicist | Gabriela Pugliese | 164880 |
| TSO | Michael Jeckel | 164710 |

## Schedule and location of the experimental apparatus or test beam

| Start date: | 15June2015 |
| --- | --- |
| Completion date: | Dec2015 |
| Building/experimental area | 887 GIF++ |
| Beam line/PPE door | H4 PPE 154 |
| Lab/Counting room/Phone | HNA 487 phone 78905 |

# Description of the experimental apparatus/test beam

## General description of the experimental apparatus/test beam

Initial Test Trolley with one RPC shown in yellow. 2.2m x 1.1m x 2.20m in beam line up stream of the source.

## Description of the installation

Complete the cells below and double click on the boxes and check as appropriate.

| Equipment | Availability | Design and manufacturing |
| --- | --- | --- |
| RPC RE2/2 from CMS | Existing | To be used without any modification To be modified |
|  | New | Standard equipment supplied by a manufacturer CERN/collaboration responsible for the design and/or manufacturing |
| CAEN main Frame SY1527 LV Module A1513A HV module A1526N | Existing | To be used without any modification To be modified |
|  | New | Standard equipment supplied by a manufacturer CERN/collaboration responsible for the design and/or manufacturing |
| Cabling | Existing | To be used without any modification To be modified |
|  | New | Standard equipment supplied by a manufacturer CERN/collaboration responsible for the design and/or manufacturing |

## Hazards generated by the experimental apparatus/test beam

Identify the hazards associated to each part of the experiment and the associated equipment that is to be integrated in the experimental apparatus/test beam. Double click on the boxes and check as appropriate. Provide comments or values under the description.

| Domain | Hazards/Hazardous Activities |  | Description |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Mechanical Safety | Pressure |  | 1-2[mbar]; 6[l] |  |  |  |
|  | Vacuum |  | NA |  |  |  |
|  | Lifting equipment |  | NA |  |  |  |
|  | Machinery / Machine Tools |  | NA |  |  |  |
|  | Mechanical energy (moving parts) |  | NA |  |  |  |
|  | Mechanical properties (sharp, rough, slippery) |  | Antico frame on Wheels |  |  |  |
|  | Industrial Vehicles |  | NA |  |  |  |
|  | Hot Work (e.g. welding, grinding) |  | NA |  |  |  |
|  | Hot/cold surfaces |  | NA |  |  |  |
|  | Vibration |  | NA |  |  |  |
| Cryogenic Safety | Cryogenic fluid |  | NA |  |  |  |
| Structural Safety | Shielding Walls |  | NA |  |  |  |
|  | Specific actions/conditions |  |  |  |  |  |
| Electrical and Electro-magnetic Safety | Electrical equipment and installations |  | 7[V], 1.5[A] |  |  |  |
|  | High Voltage Equipment |  | 10 [kV] |  |  |  |
|  | Magnetic field |  | [T] |  |  |  |
|  | Equipment in potentially explosive atmospheres |  |  |  |  |  |
| Chemical Safety | Hazardous chemical agent (HCA) |  |  |  |  |  |
|  | CMR (carcinogens, mutagens and substances toxic to reproduction) |  |  |  |  |  |
|  | Toxic/Harmful |  | [fluid], [quantity] |  |  |  |
|  | Corrosive |  | [fluid], [quantity] |  |  |  |
|  | Oxidizing |  | [fluid], [quantity] |  |  |  |
|  | Flammable |  | [fluid], [quantity] |  |  |  |
|  | Potentially explosive atmospheres |  | [fluid], [quantity] |  |  |  |
|  | Irritant |  | [fluid], [quantity] |  |  |  |
|  | Asphyxiant |  | [fluid], [quantity] |  |  |  |
|  | Nanomaterial’s |  |  |  |  |  |
|  | Dangerous for the Environment |  |  |  |  |  |
|  | Asbestos |  |  |  |  |  |
| Biological Safety | Legionella |  |  |  |  |  |
|  | Biological Agents |  |  |  |  |  |
| Non-ionizing radiation Safety | Laser, class |  |  |  |  |  |
|  | Radiofrequency |  |  |  |  |  |
|  | Microwaves |  |  |  |  |  |
|  | UV light |  |  |  |  |  |
|  | Electromagnetic (Frequency & Field strength) |  | Hz, Vm-1 |  |  |  |
| Workplace | Excessive Noise |  |  |  |  |  |
|  | Temperature constraints (non-comfortable) |  |  |  |  |  |
|  | Insufficient Lighting |  |  |  |  |  |
|  | Indoor Air quality (e.g. clean rooms) |  |  |  |  |  |
|  | Confined space |  |  |  |  |  |
|  | Work at height |  |  |  |  |  |
|  | Obstructions in passageways |  |  |  |  |  |
|  | Lone working |  |  |  |  |  |
|  | Falling objects |  |  |  |  |  |
|  | Internal Traffic (e.g workshops, experiments) |  |  |  |  |  |
|  | Slippery/unstable ground |  |  |  |  |  |
|  | Working outside normal working hours |  |  |  |  |  |
| Environment | Usage/storage of potentially polluting substances (gases, liquids, solids) |  | R134a & SF6 |  |  |  |
|  | Emissions of substances into the atmosphere |  | R134a & SF6 |  |  |  |
|  | Discharge of effluents to the site drainage (i.e. infiltration water, rain water, cooling water…) |  |  |  |  |  |
|  | Discharge of effluents to sewage (i.e. sanitary water…) |  |  |  |  |  |
|  | Activated or radioactive soil |  |  |  |  |  |
|  | Polluted or contaminated soil |  |  |  |  |  |
|  | Emission of noise harmful for the environment |  |  |  |  |  |
|  | Vibrations harmful for the environment |  |  |  |  |  |
|  | Odours |  |  |  |  |  |
|  | Waste generation |  |  |  |  |  |
|  | Significant consumption of resources (e.g. water, electricity gas, fuels, ...) |  |  |  |  |  |
| Worksite | Construction & dismantling activities |  | All work done outside bunker |  |  |  |
|  | Co-activity |  | With other experiments |  |  |  |
| Fire Safety | Hot works |  |  |  |  |  |
|  | Combustible Materials |  |  |  |  |  |
|  | Ignition sources |  |  |  |  |  |
| Ionizing Radiation | Target material |  |  |  |  |  |
|  | Beam particle type |  | Muons |  |  |  |
|  | Beam intensity |  | 10^4/spill |  |  |  |
|  | Beam energy |  | <100GeV |  |  |  |
|  | Source | X | Cs 137 |  |  |  |

Table 1 - Hazard identification

Include below a table of any other hazards that may be present – if applicable.

# Description of the activities carried out at CERN

## Description of installation activities

Roll the trolley into position from the preparation zone and cable/pipe

## Description of the operation

Carry out HV scans and establish efficiency plots, log currents as a function of source intensity. All operations are controlled from the control room HNA 487

## Description of the maintenance

There should be no maintenance except for gas leak checks

# Safety assessment

For the key identified hazards of an experimental apparatus and activity, measures shall be taken in order to eliminate, control or mitigate them. The table below shall contain the list of the key hazards and the measures that are to be implemented.

| Key hazards identified | Location | Measures to be implemented |
| --- | --- | --- |
| HV | On Trolley | Ground of chamber and trolley |
|  |  | PS limit is 1mA, set well below. |
| ODH on gas return | Gas Racks | Measure gas return flow rate |

# Roles and responsabilities

## GLIMOS

According to the § 5.4 of the Safety Policy at CERN (SAPOCO): “For Safety matters, an experiment or test is represented by a Group Leader in Matters of Safety (GLIMOS), who is responsible for Safety, with the necessary authority, from the design stage and subsequently throughout the development, construction, and operational stages of the equipment until it is finally dismantled and correctly disposed of”.

In the absence of an appointed GLIMOS, all his duties and responsibilities fall automatically on the Technical Coordinator or, if one does not exist, to the Spokesperson.

## HSE Unit

According to the § IV of the Mandate of the Occupational Health & Safety and Environmental Protection Unit (HSE):

“The HSE Unit provides Safety clearance for activities, special equipment, installations, experiments and projects with major Safety implications prior to design, operation or dismantling activities”.

For experiments less than 3 weeks duration, and if there are no major safety implications, then the PH-SO procedure will be followed (the ISIEC form and formal safety clearance by PH-SO).

## TSO

According to the Safety Guide for experiments at CERN the task of Territorial Safety Officers is to watch over the safety of and in the region or building(s) under their responsibility, thereby ensuring that no part of the CERN site(s) escapes safety surveillance. However, the character of the various regions differs considerably, and consequently also the roles of the TSOs. We shall in this guide limit the considerations to those TSOs that are responsible for either experiment areas or buildings housing experiment support labs/workshops.

# SAFETY Clearance

The procedure for the safety clearance will depend on the type and duration of the experiment and whether or not there are major safety implications. In all cases a formal safety clearance is a requirement before an experiment can start operating

# PS/SPS PHYSICS COORDINATOR

The PS/SPS physics coordinator establishes the AD/PS/SPS user schedules, represents the users at the different scientific and technical committees, being the contact person for both the accelerator groups and the experimental users. He also reports to the CERN management.

*** ***

# ANNEX

|  | Terms and abbreviations in English |  |  |
| --- | --- | --- | --- |
| CSHS | Special Health and Safety Committee |  |  |
| CSO | Cryogenic Safety Officer |  |  |
| CSOC | Cryogenic Safety Officers' Committee |  |  |
| DSO | Departmental Safety Officer |  |  |
| DSOC | Departmental Safety Officers' Committee |  |  |
| FGSO | Flammable Gas Safety Officer |  |  |
| FGSOC | Flammable Gas Safety Officers' Committee |  |  |
| GLIMOS HSE PH-SO | Group Leader In Matters Of Safety Occupational Health & Safety and Environmental Protection Unit Physics Department Safety Office |  |  |
| RSO | Radiation Safety Officer |  |  |
| SAPOCO | SAfety POlicy COmmittee |  |  |
| SLIMOS TSO | Shift Leader In Matters Of Safety Territorial Safety Officer |  |  |