First day of AC in the RPC Tent. Environmental sensors

The Blue line is T2 the RPC ENV showing a drop of 3degC to 24 not agreeing with picolog.

The green line is the CSC ENV temp which shows an increase, which can be expected as we are pumping heat form the tent to the rest of the bunker !

The red line is T3 that was put back to Zone 3 this pm

Stability will be reached tonight or tomorrow I guess. There is plenty of condensed water that is fed away upstream un the shielding.

