**GIF Floor Panels Prep Zone** Request 21 Jan 2015

Ian Crotty

Steel Floor panels to remove



In addition three synthetic floor panels at the end of the rack line will be removed to allow access under the wall to the entry area. Behind the rack line there are also 3 panels to remove. The area should be delimited. If I can have some barriers I can deal with this part of the job, panels and barriers.

