Justitification of the type and size of box for UVC sterilization box

Reflectivity

Locks key not pad lock, two different keys !!

Diemensoons for irradion model thathave been done and the ptotype already build. No man power available for new model and delays