## Sheet1
|  | Testing Specification | P oper | P max | P test | P factor | Testing spec corrected by P factor
Total leak rate | mbar*l/s | 0.0001 | 9 | 40 | 30 | 11.2375 | 0.0011237
|  | From leak rate and sensitivity, calculation of time | From leak rate & time, calculation of DP to be measured
Volume | liters | 0.1 | 0.1
Leak rate | mbar*l/s | 0.0011237 | 0.0011237
Sensitivity | mbar | 100
Time | s | 8898.7764 | 28800
Time | h | 2.4719 | 8
DeltaP | mbar | 100 | 323.64