HV Fanout System

The 38mm cables are equipped with male pin and female insulator cable connector

The fan out boxes are equipped with 40 female pin and male insulator chassis connectors

The 10 cables from the fan out to the Caen PS are female pin and male insulator cable connector

The Caen PS are equipped with male pins in female connectors (Chassis)

The test cables  (x20) are female pin and male insulator.

They are to be used with the ground cables (x20) as the connectors can float up to the test voltage (12kV)