## Sheet1
Material for Egypt RPC lab
Yasser and Ian 23 sep
Requirements |  | Exist |  | Reference | Source | To order | Owner
|  | ISR | Egypt
HV
cables | 4 cond 15kv | 2×15m |  | 1×(2×0.22+2×0.22)H2M1 15KV
connectors | jupitor | 5
3 pole connector |  | 4
heat shrink | 12 Ø=2cm
heat shrink | 12 Ø=1cm | yes
copper braid |  | yes
stycast(2651-40w1) |  | yes but old |  |  | edh | one
catalyst (23LV) |  | yes but old |  |  | edh | one
scaler |  | yes 1 |  | KERN | edh
syringe |  | yes 4
needle |  | yes 10 |  |  |  | Two ø=2mm, 1.5mm
LV
SUB 'D' |  | yes |  | 09.55.04.540.4
molex with pins |  | 6molex and 10 pins |  |  |  | 50 pins
cables | 8 cond | 10 meters |  | 8×0.75FMOH2M1-300
Braid |  | yes
Heat shrink |  | yes
Gas
regulator |  | yes
fl regulator |  | yes but too hight P
mixer |  | yes
unions |  | no
pipes | 6x4mm PA | no
Detection sys | 6x4 Cu | no |  |  |  | one
1000 Bulles |  | yes one bottle |  |  | edh
Freon bottle |  |  | yes one bottle
Isobutane bottle |  |  | yes one bottle
Signal
connector | 40 pins | 10 |  | 09.55.10.340.1
cables |  | 6 cables *6m |  | CERN 04.71.06.400.0
Chamber
FEB | 3 | yes
Distributer | 1 | yes
cover |  | no | no
Electronics Modules
Rack | needs shortening | yes 1.8 m
Nim Crate |  | yes |  | pool No 93290010 |  |  | pino
Main Frame |  | yes |  | pool No 01850004 |  |  | Pino
HV power supply | 15 KV | yes |  | pool No 01910025 |  |  | pino
LV power supply |  | yes |  | pool No 01990017 |  |  | pino
oscilloscope | 2 channel | yes | yes | pool No 01680003 |  |  | pino
scintillators |  | yes | yes |  |  |  | Ian
Coincidence unit |  | yes |  | Le croy model 465
scaller |  | yes |  | pool No 02820002 |  |  | Ian
discriminator |  | yes |  | pool No 39810125 |  |  | sergey
receiver |  | yes two |  | INFN Bari |  |  | Bari
fan-in¦fan-out |  | yes |  | pool No 45460372 |  |  | sergey
Deffrential protection |  | yes |  | scem06.61.81.705.4
ground braid |  | yes
Delay unit |  | yes |  | CERN-NP type N9053