Egypt Elements to create a lab			Yasserr and Ian 25 march2010

HV

3 pole connector to chambers

3 pole connectors to on Chamvbers

4 Connductor cable

Epoxy and catalyser

Other HV cables

Lv

Molex pins and connector

4mm connector

Cable 8 x 0.75mm2

Other 1mm2 cable

Signal

7 signal cable as used in CMAS

Flat cable

Gas

Gas rack with 2 channel electronics

Gas pipe dia 6mm

Gas pipe dia 8mm

Two regulators

Leak detector

1000 Bulles

Tools

Balance resolution or precsion 0.1g

Documentation