RPC Air conditioned enclosure in building 904

Yellow represents the 2 rooms

x2  room 		29.5 x 9.5m	=	280m2

7.5 x 15.5m	= 	116m2

Thermal coefficient (Walls)	U=0.5 [W/m2.K]			Internal height 		≥ 3.5m

Thermal coefficient (Windows)	U = 1 – 1.4 [W/m2.K]			External height 		≤ 4.3m

Roof load 		150kg						False ceiling height	≥ 0.3m

X2 		Airlocks	(SAS)						Pressure inside 		10Pa

Ian Crotty	29 March 2011