| Spacer Pico File name | Spacer_PicoLogData\RE4-3-TN01.PLW |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Name of operator | Crotty |  |  |  |  |  |
| Date | 18/02/2011 |  |  |  |  |  |
| Barcode of gap | KODEL-CMS-RE4-3-TN01 |  |  |  |  |  |
| Barcode HPL HV | 1DL32D16P000016p0 |  |  |  |  |  |
| Barcode HPL Gnd | 1FL32D16P000026p0 |  |  |  |  |  |
| Gap Edges | good |  |  |  |  |  |
| Graphite layer | good |  |  |  |  |  |
| Gap gas inlets | good |  |  |  |  |  |
| Gap HV connector | Not done |  |  |  |  |  |
| Bad spacers | 0 |  |  |  |  |  |
| Total spacers | 114 |  |  |  |  |  |
| Gap Volume [l] | 1.69 |  |  |  |  |  |
| Slope ΔP Vs Δt @ 20mbar [mbar/msec] | -0.00028 |  |  |  |  |  |
| ΔP/Δt @ 20mbar [mbar/10min] | -0.17 |  |  |  |  |  |
| Leak Rate @20mbar [mbar.l/s] | -0.48 |  |  |  |  |  |
| Slope ΔP Vs Δt @ 3mbar [mbar/msec] |  |  |  |  | Seconds | Pressure |
| ΔP/Δt @ 3mbar [mbar/10min] |  |  |  |  | ms | mbar |
| Leak Rate @3mbar [mbar.l/h] |  |  |  |  | 0 | 0.3 |
| Comments |  |  |  |  | 1 | 0.31 |
| Passed | 1 |  |  |  | 2 | 0.31 |
| Go back to summary |  |  |  |  | 3 | 0.31 |
|  |  |  |  |  | 4 | 0.31 |
|  |  |  |  |  | 5 | 0.31 |
|  |  |  |  |  | 6 | 0.31 |
|  |  |  |  |  | 7 | 0.32 |
|  |  |  |  |  | 8 | 0.31 |
|  |  |  |  |  | 9 | 0.31 |
|  |  |  |  |  | 10 | 0.32 |
|  |  |  |  |  | 11 | 0.32 |
|  |  |  |  |  | 12 | 0.32 |
|  |  |  |  |  | 13 | 0.32 |
|  |  |  |  |  | 14 | 0.32 |
|  |  |  |  |  | 15 | 0.32 |
|  |  |  |  |  | 16 | 0.32 |
|  |  |  |  |  | 17 | 0.32 |
|  |  |  |  |  | 18 | 0.32 |
|  |  |  |  |  | 19 | 0.33 |
|  |  |  |  |  | 20 | 0.33 |
|  |  |  |  |  | 21 | 0.33 |
|  |  |  |  |  | 22 | 0.32 |
|  |  |  |  |  | 23 | 0.33 |
|  |  |  |  |  | 24 | 0.33 |
|  |  |  |  |  | 25 | 0.33 |
|  |  |  |  |  | 26 | 0.33 |
|  |  |  |  |  | 27 | 0.33 |
|  |  |  |  |  | 28 | 0.33 |
|  |  |  |  |  | 29 | 0.33 |
|  |  |  |  |  | 30 | 0.33 |
|  |  |  |  |  | 31 | 0.33 |
|  |  |  |  |  | 32 | 0.33 |
|  |  |  |  |  | 33 | 0.33 |
|  |  |  |  |  | 34 | 0.33 |