|  | Component discription | Supplier | Referance | Cost | Quantity |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | ADC 20 bit | Picolog | http://www.picotech.com/ |  | x1 | Could not find. |
| 3. | Pipe | Rilsan | 38.40.30.606.2 | 0.72 | 20 m | Diameter 6x4mm |
| 5. | Valves | Legris | 40.40.20.513.6 | 11CHF | 4 |  |
| 6. | Soft Pipe ( internal dia 4mm) To connect to gaps. Measure the dia. | Rilsan |  |  | 1 m | Diameter 4mm external or internal??? |
| 7. | Pressure Sensor (Stainless Steel) 4-20mA | CERN store | 22.64.11.030.5 | 177CHF | x1 |  |
| 8. | Power Supply, 14 V DC |  |  |  | x1 |  |
| 9. | PC |  |  |  | x1 |  |
| 10. | Unions dia 6mm Inserts for the plastic pipe ¼ inch male to 6mm “T” Double unions | Legris |  |  | 20 6 3 8 | Which kind?? how much?? |

List made by Ramandeep Kumar

& Ian Crotty

12 Dec 2012