## Chamber 2&3
RE4 Component list
CONTENTS MUST BE VERIFIED BY ISR construction team
NON VERIFIED Transcription
Items | Component desciption | Production site or | [18 empty] | Drawings ?
|  | Source |  | Quantity for 1 chamber | Units |  |  | Quantity for 10 chambers. 5 Type 2 & 5 Type 3 | Cost for 10 ch. 5 Type 2 & 5 Type 3 | Quantity for 40 chambers. 20 Type 2 & 20 Type 3 | Cost for 40ch.20 Type 2 & 20 Type 3 |  |  | Quantity for 170 chambers | Cost for 170 ch | Expected delivery
|  | CERN catalog SCEM number | Reference |  | [pieces, g or m] | Cost for 1 ch | [5 empty] | Order EDH + Date | Delivered to CERN |  |  |  | Available in ISR/904 | CERN | In Stock in Belgium | In Stock in India
[6 empty] | [chf] |  |  | [chf] | [5 empty] | [chf]
1 | Gas-gap | Produced in Korea | Drawings | 3 | pieces |  | NA | 30 | 0 | 120 | 0 | - |  | 510 | 0
2 | honeycomb box | Produced in China | Drawings | 1 | pieces |  | NA | 10 | 0 | 40 | 0 | - |  | 170 | 0
3 | Readout strip | Produced in China | Drawings | 1 | pieces |  | NA | 10 | 0 | 40 | 0 | - |  | 170 | 0
4 | Copper + mylar sheets | Produced in China | Drawings | 3 | pieces |  | NA | 30 | 0 | 120 | 0 | - |  | 510 | 0
5 | Screen box | Produced in China | Drawings | 1 | pieces |  | NA | 10 | 0 | 40 | 0 | - |  | 170 | 0
6 | Gas-gaps fixation L-brackets (4 types) | Made in Institute for RE4/2 | Drawings | 4 | pieces | 40 |  | 20 | 200 | 160 | 1600 | - |  | 680 | 6800
6a | Bakelite 0.5mm x ??mm | Produced in India (4/2) | Drawings | 1 | pieces | 4.5 |  | 5 | 22.5 | 40 | 180 | - |  | 170 | 765
7 | Plexiglass Gas-gaps spacers (with holes) | Made in Institute for RE4/2 | Drawings | 3 | pieces |  | NA | 15 | 0 | 120 | 0 | - |  | 510 | 0
8 | Patch panels | Made in India for RE4/2 | Drawings | 1 | pieces | 20 |  | 5 | 100 | 40 | 800 | - |  | 170 | 3400
8b | Patch panels HV Jupitor | Made in India for RE4/2 | Drawings | 1 | pieces | 20 |  | 5 | 100 | 40 | 800 | - |  | 170 | 3400
9 | Insulation mylar between HCP&gas gaps 175microns | Made in Institute for RE4/2 | 44.84.50.390.0 | 6 | m | 25.73 |  | 30 | 128.65 | 240 | 1029.2 | ?? | ?? | 1020 | 4374.1 | ??? |  |  |  | In Stock
10 | LDPE gas pipe plugged outlet with Hot Melt | EVA copolymer | eg Pattex PTK 1, 6 or 56 | 4 | pieces | 2 |  | 40 | 20 | 160 | 80 | to be purchased |  | 680 | 340
[12 empty] | - |  | 0 | 0
6b | Gas-gaps fixation L-brackets | Made in Institute for RE4/3 | Drawings | 6? | pieces |  | NA | #VALUE! | 0 | #VALUE! | 0 | - |  | #VALUE! | 0
6bb | Bakelite 0.5mm | Produced in India (4/3) | Drawings | 1 | pieces | 4.5 |  | 5 | 45 | 40 | 180 | - |  | 170 | 765
7a | Plexiglass Gas-gaps spacers (with holes) | Made in Institute for RE4/3 | Drawings | 4? | pieces |  | NA | #VALUE! | 0 | #VALUE! | 0 | - |  | #VALUE! | 0
8a | Patch panels | Made in India for RE4/3 | Drawings | 1 | pieces | 20 |  | 5 | 200 | 40 | 800 | - |  | 170 | 3400
8c | Patch panels HV Jupitor | Made in India for RE4/3 | Drawings | 1 | pieces | 20 |  | 5 | 200 | 40 | 800 | - |  | 170 | 3400
9a | Insulation mylar between HCP&gas gaps 175microns | Made in Institute for RE4/3 | 44.84.50.390.0 (16,9271CHF/KG) | 6 | m | 25.73 |  | 30 | 257.3 | 240 | 1029.2 | ?? | ?? | 1020 | 4374.1
11 | [11 empty] | - |  | 0 | 0
12 | Copper Cooling FEB plates | Produced in India for RE4/2 | Drawings | 1 | pieces | 565 |  | 5 | 5650 | 40 | 22600 | - |  | 170 | 96050 | [5 empty] | RE4_gaspipe-design.ppt)
12a | Copper Cooling FEB plates | Produced in India for RE4/3 | Drawings | 1 | pieces | 620 |  | 5 | 6200 | 40 | 24800 | - |  | 170 | 105400 | [5 empty] | RE4_gaspipe-design.ppt)
|  |  | Sub Total |  |  | 1367.46 |  |  |  |  | 54698.4
Mechanical | [20 empty] | See Jean-Paul (Luc's drawings:
accessories | [20 empty] | l-profile-r4-ring2(3).pdf
l-profile-small-ring2(3).pdf
13 | Legris ferrule unions Gas int ferrule insert Ø6-4 RE4/2 | CERN SCEM No: | 41.34.31.656.8 | 4 | pieces | 0.56 |  | 40 | 5.6 | 80 | 22.4 | 4764975 - 11/10/11 |  | 680 | 95.2
13a | Legris ferrule unions Gas ext ferrule for Ø6 RE4/2 | CERN SCEM No: | 41.34.35.406.8 | 4 | pieces | 0.8 |  | 40 | 8 | 80 | 32 | 4764975 - 11/10/11 | MISSING | 680 | 136
13b | Legris ferrule unions Gas nut for Ø6 RE4/2 | CERN SCEM No: | 41.34.35.120.9 | 4 | pieces | 2.24 |  | 40 | 22.4 | 80 | 89.6 | 4764975 - 11/10/11 |  | 680 | 380.8
14 | Legris bulkhead unions for Ø6 RE4/2 | CERN SCEM No: | 41.34.06.510.0 | 4 | pieces | 16.8 |  | 40 | 168 | 80 | 672 | 4764975 - 11/10/11 |  | 680 | 2856
15 | Ø6mm LDPE gas pipe RE4/2 | Angst pfister ref. | A03.758241.001 FT 12 1001 0604 | 4 | m | 1.32 |  | 40 | 13.2 | 80 | 52.8 | 4766561 - 11/10/11 |  | 680 | 224.4
13 | Legris ferrule unions Gas int ferrule insert Ø6-4 RE4/3 | CERN SCEM No: | 41.34.31.656.8 | 4 | pieces | 0.56 |  | 40 | 5.6 | 80 | 22.4 | 4764975 - 11/10/11 |  | 680 | 95.2
13aa | Legris ferrule unions Gas ext ferrule for Ø6 RE4/3 | CERN SCEM No: | 41.34.35.406.8 | 4 | pieces | 0.8 |  | 40 | 8 | 80 | 32 | 4764975 - 11/10/11 | MISSING | 680 | 136
13bb | Legris ferrule unions Gas nut for Ø6 RE4/3 | CERN SCEM No: | 41.34.35.120.9 | 4 | pieces | 2.24 |  | 40 | 22.4 | 80 | 89.6 | 4764975 - 11/10/11 |  | 680 | 380.8
14a | Legris bulkhead unions for Ø6 RE4/3 | CERN SCEM No: | 41.34.06.510.0 | 4 | pieces | 16.8 |  | 40 | 168 | 80 | 672 | 4764975 - 11/10/11 |  | 680 | 2856
15a | Ø6mm LDPE gas pipe RE4/3 | Angst pfister ref. | A03.758241.001 FT 12 1001 0604 | 4 | m | 1.32 |  | 40 | 13.2 | 80 | 52.8 | 4766561 - 11/10/11 |  | 680 | 224.4
16 | Cooling Bulkhead brass Union Sagana Ø8mm | CERN SCEM No: | 41.35.06.513.1 | 4 | pieces | 25.6 |  | 40 | 256 | 160 | 1024 | 4764975 - 11/10/11 |  | 680 | 4352
16a | Spare Sagana front SS ferrules for Ø8mm | CERN SCEM No: | 41.40.35.368.4 | 8 | pieces | xx |  | 80 | #VALUE! | 320 | #VALUE! | 4764975 - 11/10/11 |  | 1360 | #VALUE!
16b | Spare Sagana Rear brass ferrules for Ø8mm | CERN SCEM No: | 41.40.35.568.8 | 8 | pieces | xx |  | 80 | #VALUE! | 320 | #VALUE! | 4764975 - 11/10/11 |  | 1360 | #VALUE!
17 | Spare Nuts Sagana for Ø8mm | CERN SCEM No: | 41.35.43.108.2 (0,6CHF/Pc) | 2 | pieces | 2.4 |  | 20 | 24 | 80 | 96 | 4764975 - 11/10/11 |  | 340 | 408 | [5 empty] | (see item 18)
19 | M6×12 screws SS Con head allan key RE4/3 | Bossard | BN 616 A2 | 80 | pieces | 27.04 |  | 400 | 270.4 | 1600 | 1081.6 | 4768406 - 13/10/11 |  | 13600 | 4596.8
19a | M6×12 screws SS Con head allan key RE4/2 | Bossard | BN 616 A2 | 68 | pieces | 22.98 |  | 340 | 229.8 | 1360 | 919.2 | 4768406 - 13/10/11 |  | 11560 | 3906.6
20 | M6 Stainless steel flat washer | CERN SCEM No: | 47.78.15.006.0 / BN671-1755579 | 20 | pieces | 0.8 |  | 200 | 8 | 800 | 32 | 4768406 - 13/10/11 |  | 3400 | 136
21 | M5×6 Cyl head A4 screws (gap retainer & Ext panel) | CERN SCEM No: | 47.62.71.200.9 / BN612 - 1670697 | 30 | pieces | 2.4 |  | 300 | 24 | 1200 | 96 | 4768406 - 13/10/11 |  | 5100 | 408
22 | M5 Stainless steel flat washer | CERN SCEM No: | 47.78.15.005.1 / BN671 - 1253387 | 20 | pieces | 0.4 |  | 200 | 4 | 800 | 16 | 4768406 - 13/10/11 |  | 3400 | 68
23 | M3×16 Nick Br Cyl split screws Signal connector to PP | CERN SCEM No: | 47.62.32.316.4 | 12 | pieces | 0.48 |  | 120 | 4.8 | 480 | 19.2 | 4768406 - 13/10/11 |  | 2040 | 81.6
24 | M3 Hex Stainless steel nuts | CERN SCEM No: | 47.43.77.030.3 / BN629-1241613 | 12 | pieces | 0.36 |  | 120 | 3.6 | 480 | 14.4 | 4768406 - 13/10/11 |  | 2040 | 61.2
25 | M3 Stainless steel flat washer | CERN SCEM No: | 47.78.15.003.3 | 12 | pieces | 0.12 |  | 120 | 1.2 | 480 | 4.8 | 4768406 - 13/10/11 |  | 2040 | 20.4
26 | M3x16 Cyl slit head screws | CERN SCEM No: | 47.62.39.316.6 | 12 | pieces | 0.48 |  | 120 | 4.8 | 480 | 19.2 | 4768406 - 13/10/11 |  | 2040 | 81.6
27 | M3 Hex Stainless steel nuts | CERN SCEM No: | 47.43.77.030.3 / BN629-1241613 | 36 | pieces | 1.08 |  | 360 | 10.8 | 720 | 43.2 | 4768406 - 13/10/11 |  | 6120 | 183.6
28 | M3 Polyamid washers | CERN SCEM No: | 47.78.78.030.8 / BN1075 - 1404938 | 24 | pieces | 0.5 |  | 240 | 5 | 480 | 20 | 4768406 - 13/10/11 |  | 4080 | 85
|  |  | Sub Total |  |  | 128.08 |  |  |  |  | #VALUE!
0
Electronics components | [10 empty] | 0
29 | FEBs | Made in Pakistan |  | 3 | pieces |  | NA | 30 | 0 | 120 | 0 | - |  | 510 | 0
30 | FEB insulation mylars RE4/3 | Made in Institute | Drawings | 3 | pieces |  | NA | 30 | 0 | 60 | 0 | - |  | 510 | 0
30a | FEB insulation mylars RE4/2 | Made in Institute | Drawings | 3 | pieces |  | NA | 30 | 0 | 60 | 0 | - |  | 510 | 0
31 | Distribution board | Made in Pakistan |  | 1 | pieces |  | NA | 10 | 0 | 40 | 0 | - |  | 170 | 0
32 | 3 pin HV connector | CPE | 28.000.512-019 | 1 | pieces | 26.25 |  | 10 | 262.5 | 40 | 1050 |  | ?? | 170 | 4462.5
33 | STYCAST glue 2651-40/Catalyst | Abovo AG (CH) | voir EDH 4586561 | 20 | g | 2.92 |  | 200 | 29.2 | 800 | 116.8 | 4772884 - 18/10/11 | DAI ok | 3400 | 496.4
33a | HV Jupitor Chassis male | CPE | 23.100.152-040 | 3 | pieces | 30.75 |  | 30 | 307.5 | 120 | 1230 |  | ?? | 510 | 5227.5
34 | Copper screen braids for HV & 0V return lines | CERN SCEM No: | 04.01.31.006.7 | 5 | m | 11.5 |  | 50 | 115 | 200 | 460 | 4768957 - 13/10/11 |  | 850 | 1955
4768957 - 13/10/11
35 | Heat shrinkable tube (Ø4.8/2.4mm) | CERN SCEM No: | 04.86.62.110.3 (d3mm) | 1 | m | 1.6 |  | 10 | 16 | 40 | 64 | 4768957 - 13/10/11 |  | 170 | 272
35a | Heat Shrinkable with adhesive Ø12-4mm | Raytronics AG | ATUM-12/4-0 voir EDH 4614881 | 0.6 | m | 5.13 |  | 6 | 51.3 | 24 | 205.2 | 4772929 - 18/10/11 | DAI ok | 102 | 872.1
35b | Heat Shrinkable Ø12.5mm | CERN SCEM No: | 04.86.62.130.9 | 2 | m | 5.6 |  | 20 | 56 | 80 | 224 | 4768957 - 13/10/11 |  | 340 | 952
36 | ground wires (Green) dist board | CERN SCEM No: | 04.01.61.610.8 | 0.25 | m | 0.1 |  | 2.5 | 1 | 10 | 4 | 4768957 - 13/10/11 |  | 42.5 | 17
36a | ground wires (Red) Sig ref/Farady cage | CERN SCEM No: | 04.01.61.670.6 | 0.25 | m | 0.1 |  | 2.5 | 1 | 10 | 4 | 4768957 - 13/10/11 |  | 42.5 | 17
36b | ground wires (White) Shield HV | CERN SCEM No: | 04.01.61.680.4 | 1 | m | 0.375 |  | 10 | 3.75 | 40 | 15 | 4768957 - 13/10/11 |  | 170 | 63.75
36d | ground wires (Black) 0V of HV line to ground | CERN SCEM No: | 04.01.61.640.2 | 1 | m | 0.375 |  | 10 | 3.75 | 40 | 15 | 4768957 - 13/10/11 |  | 170 | 63.75
40 | 26 pin twisted pair flat cable LV RE4/2 | CERN SCEM No: | 04.21.22.426.8 | 2.5 | m | 17.21 |  | 25 | 172.1 | 50 | 688.4 | 4768957 - 13/10/11 |  | 425 | 2925.7
41 | 40 pin twisted pair flat cableRE4/2 | CERN SCEM No: | 04.21.22.440.0 | 6 | m | 48.59 |  | 60 | 485.9 | 120 | 1943.6 | 4768957 - 13/10/11 |  | 1020 | 8260.3
42 | 40 pin socket flat cable connector (FEB end)RE4/2 | CERN SCEM No: | 09.55.03.340.4 | 6 | pieces | 11.7 |  | 60 | 117 | 120 | 468 | 4768957 - 13/10/11 |  | 1020 | 1989
43 | 40 pin socket flat cable connector (FEB end) RE4/2 | CERN SCEM No: | 09.55.03.440.1 | 6 | pieces | 1.32 |  | 60 | 13.2 | 120 | 52.8 | 4768957 - 13/10/11 |  | 1020 | 224.4
44 | 40 pin plug flat cable connector (PP end) RE4/2 | CERN SCEM No: | 09.55.04.540.4 | 6 | pieces | 35.1 |  | 60 | 351 | 120 | 1404 | 4768957 - 13/10/11 |  | 1020 | 5967
45 | 40 pin plug flat cable connector (PP end) RE4/2 | CERN SCEM No: | 09.55.04.740.8 | 6 | pieces | 8.1 |  | 60 | 81 | 120 | 324 | 4768957 - 13/10/11 |  | 1020 | 1377
46 | 26 pin socket flat cable connector LV RE4/2 | CERN SCEM No: | 09.55.03.326.2 | 4 | pieces | 5.2 |  | 40 | 52 | 80 | 208 | 4768957 - 13/10/11 |  | 680 | 884
47 | 26 pin socket flat cable connector LV RE4/2 | CERN SCEM No: | 09.55.03.426.9 | 4 | pieces | 0.84 |  | 40 | 8.4 | 80 | 33.6 | 4768957 - 13/10/11 |  | 680 | 142.8
40a | 26 pin twisted pair flat cable LV RE4/3 | CERN SCEM No: | 04.21.22.426.8 | 2.5 | m | 17.21 |  | 25 | 172.1 | 50 | 688.4 | 4768957 - 13/10/11 |  | 425 | 2925.7
41a | 40 pin twisted pair flat cable RE4/3 | CERN SCEM No: | 04.21.22.440.0 | 6 | m | 48.59 |  | 60 | 485.9 | 120 | 1943.6 | 4768957 - 13/10/11 |  | 1020 | 8260.3
42a | 40 pin socket flat cable connector (FEB end) RE4/3 | CERN SCEM No: | 09.55.03.340.4 | 6 | pieces | 11.7 |  | 60 | 117 | 120 | 468 | 4768957 - 13/10/11 |  | 1020 | 1989
43a | 40 pin socket flat cable connector (FEB end) RE4/3 | CERN SCEM No: | 09.55.03.440.1 | 6 | pieces | 1.32 |  | 60 | 13.2 | 120 | 52.8 | 4768957 - 13/10/11 |  | 1020 | 224.4
44a | 40 pin plug flat cable connector (PP end) RE4/3 | CERN SCEM No: | 09.55.04.540.4 | 6 | pieces | 35.1 |  | 60 | 351 | 120 | 1404 | 4768957 - 13/10/11 |  | 1020 | 5967
45a | 40 pin plug flat cable connector (PP end) RE4/3 | CERN SCEM No: | 09.55.04.740.8 | 6 | pieces | 8.1 |  | 60 | 81 | 120 | 324 | 4768957 - 13/10/11 |  | 1020 | 1377
46a | 26 pin socket flat cable connector LV RE4/3 | CERN SCEM No: | 09.55.03.326.2 | 4 | pieces | 5.2 |  | 40 | 52 | 80 | 208 | 4768957 - 13/10/11 |  | 680 | 884
47 | 26 pin socket flat cable connector LVRE4/3 | CERN SCEM No: | 09.55.03.426.9 | 4 | pieces | 0.84 |  | 40 | 8.4 | 80 | 33.6 | 4768957 - 13/10/11 |  | 680 | 142.8
[8 empty] | 0 | 0 |  | 0 |  |  | 0 | 0
48 | Coax cable DRAKA (C50-2-1 0.5L/1.5-LSHF) strv | CERN SCEM No: | 04.61.11.145.5 | 60 | m | 32.4 |  | 600 | 324 | 2400 | 1296 | 4768957 - 13/10/11 | 3000m Delivered | 10200 | 5508 |  | 6000
49 | Adapter board | Pakistan | XXXXXXX | 6 | pieces |  | NA | 60 | 0 | 240 | 0 | 4768957 - 13/10/11 |  | 1020 | 0
50 | ferrules 09.46.11.195.9 (Adapter End) | CERN SCEM No: | 09.46.11.195.9 | 96 | pieces | 97.92 |  | 960 | 979.2 | 3840 | 3916.8 | 4768957 - 13/10/11 | 3000 pcs at CERN | 16320 | 16646.4
|  |  | Sub Total |  |  | 471.14 |  |  |  |  | 18845.6
0
Materials | [10 empty] | 0
0
53 | Orapi thread locking compound (blue) eq Loctite 245 | CERN SCEM No: | 37.30.35.074.3 (remov assembly) | 0.01 | bottle | 0.27 |  | 0.1 | 2.7 | 0.4 | 10.8 | 4776543 - 21/10/11 |  | 1.7 | 45.9
54 | Soldering tin (Pb62% Sn36% Ag2%) Ø1,2 | CERN SCEM No: | 29.20.01.362.9 (27,58CH/Roll) | 2 | m | 1.5 |  | 20 | 15 | 80 | 60 | 4776543 - 21/10/11 |  | 340 | 255
55 | Conductive copper tape Width 25mmm | CERN SCEM No: | 04.95.20.125.3 | 4 | m | 10.2 |  | 40 | 102 | 160 | 408 | 4776543 - 21/10/11 |  | 680 | 1734
56 | Conductive Aluminum tape width 50mm | CERN SCEM No: | 04.95.20.250.9 | 8 | m | 9.24 |  | 80 | 92.4 | 320 | 369.6 | 4776543 - 21/10/11 |  | 1360 | 1570.8
57 | Plastic insulation yellow tape width 25mm | CERN SCEM No: | 04.94.20.225.6 | 2 | m | 0.42 |  | 20 | 4.2 | 80 | 16.8 | 4776543 - 21/10/11 |  | 340 | 71.4
58 | Cotton plasticised Tape 25mm x 0,3 black | CERN SCEM No: | 04.95.40.625.8 | 4 | m | 3.76 |  | 40 | 37.6 | 160 | 150.4 | 4776543 - 21/10/11 |  | 680 | 639.2
58a | Paper tape width 50mm x 0,12 | CERN SCEM No: | 04.95.45.251.8 | 1 | m | 0.1 |  | 10 | 1 | 40 | 4 | 4776543 - 21/10/11 |  | 170 | 17
58b | Double stick tape 12mm x 0,1 | CERN SCEM No: | 04.95.60.213.4 | 3 | m | 0.41 |  | 30 | 4.1 | 120 | 16.4 | 4776543 - 21/10/11 |  | 510 | 69.7
58c | Double stick tape 50mm x 0,1 | CERN SCEM No: | 04.95.60.251.8 | 2 | m | 1.08 |  | 20 | 10.8 | 80 | 43.2 | 4776543 - 21/10/11 |  | 340 | 183.6
59 | Cleaning paper | CERN SCEM No: | 55.60.82.150.2 | 0.1 | roll | 0.7 |  | 1 | 7 | 4 | 28 | 4776543 - 21/10/11 |  | 17 | 119
60 | Cleaning solution ? Heavy degreaser TeePol | CERN SCEM No: | 58.81.12.101.1 | 0.5 | litre | 1.4 |  | 5 | 14 | 20 | 56 | 4776543 - 21/10/11 |  | 85 | 238
61 | Cleaning solution ? Metal cleaner Isopropylic | CERN SCEM No: | 58.04.45.300.8 | 0.5 | Kg | 1.8 |  | 5 | 18 | 20 | 72 | - | Liters at CERN | 85 | 306
62 | Cleaning solution ? Dielectric cleaner A-KUR | CERN SCEM No: | 58.81.20.100.6 | 0.5 | litres | 8 |  | 5 | 80 | 20 | 320 | 4776543 - 21/10/11 |  | 85 | 1360
|  |  | Sub Total |  |  | 38.88 |  |  |  |  | 1555.2
|  |  | TOTAL |  |  | 2005.56 |  |  |  |  | #VALUE!
Tooling
51 | 6 soldering protection strips | Made in Institute | Cu & MylaR 200microns |  | pieces |  |  | 0
52 | LDPE Pipe bending tools RE4/3 | Made in Institute | drawings |  | pieces |  |  | 0
52a | LDPE Pipe bending tools RE4/2 | Made in Institute | drawings |  | pieces |  |  | 0
53 | Torque wrench 20Nm |  |  | 1 | pieces | [6 empty] | 4767239 - 12/10/11
| Hot melt Gun | ??? | ???
| Crimping for Jupitor |  |  | Transcribed by I. Crotty from Y.Ban's list
2011-04-20
Input from Waqar & Ian 27 may 2011
Input from Lalit & Ian 1 June 2011
Input from Ian 7 June 2011
Input from Michael and Waqar 10 june 2011
Input from Waqar 15 June 2011
Input from Ian 22 July 2011
Input from JF PERNOT 20 Sept 2011
Input from JFP, Lalit and Ian 26 Sept 2011
Input from JF PERNOT 05 Oct 2011
Input from JF PERNOT 10 Oct 2011
Input from JF PERNOT 16 JAN 2012

## SuperModule
63 | Alu "A" Frame
64 | M8 Securing screws | CERN SCEM No:
65 | Reinforcement bars
66 | Lifting Bolts | CERN SCEM No:
67 | Lifting Eyes
68 | Inter gas connexions
Legris Unions
LDPE Pipe
69 | Inter cooling connexions
Sagana 8mm
8mm Cu pipe
70 | Cable clamps for RE4/3
Protective inter chamber cover
Lifting Fixture
Input from Ian 11 Oct 2011