Cooling Jig for QC4 in 904.

Mobile rack					Found

ADC  & 35bar pressure sensor.			500chf

Analogue  manometer				found

4 valves						200chf

Safety valve					150

Bottle N2 and regulator				35 + found

PC/screen/keyboard				650/180/found

Piping/unions					found/200

Total						Approx 2kchf

Ian Crotty

15 Jan 2012