Cable lengths in the GIF++ area for RPC upgrade		V2						Ian Crotty	22 May 2014

Rack Zone

To the upstream area 		L =  33m  Approx(includes 3m height at each end) In reality we measured 36m

To downs stream area				L =  27m  Approx(includes 3m height at each end) ) In reality we measured 28.5m

Rack Zone

Cable length to the preparation area	L =  35m  Approx(includes 3m height at each end) ) In reality we measured 32m but without position definition

Rack Zone