## Sheet1
Gas mix in GIF++
[7 empty] | Ian Crotty | 2015-10-27
|  | Set Points |  |  | Set Points |  |  |  | Measured Values |  |  |  | Calculated ratio
Date |  | Freon | Iso | SF6 | Humidity | [7 empty] | Total Flow | Freon | Iso | SF6 | Absolute Humidity | Temperature in Bunker | RH
|  | R134a | [11 empty] | R134a
[5 empty] | Dry | Wet | Total Flow |  | IR Iso Content | IR Iso Content | Dew Point | [5 empty] | [wet/total]
|  | [l/h] | [l/h] | [l/h] | [l/min] | [l/min] | [l/min] | [l/hr] | [%] | [%] | [degC] |  | [l/hr] | [%] | [%] | [%] | [%] | [degC] | [%]
2015-09-25 | [10 empty] | 6.4 | [7 empty] | 31-32
2015-10-01 |  | 24.36 | 1.289 | 0.0774 | 0.19 | 0.1413 | 0.3313 | 19.878 |  |  | 10.1 |  | 25.7264 | 94.6887 | 5.0104 | 0.30086 | 42.6502 | 21 | 51
2015-10-15 |  | 24.36 | 1.289 | 0.0774 | 0.165 | 0.1245 | 0.2895 | 17.37 |  |  |  |  | 25.7264 | 94.6887 | 5.0104 | 0.30086 | 43.0052
Flow meters changed. The original were contaminatyed as no filters had been installed !
|  | [l/m] | [l/m] | [l/h] | [l/min] | [l/min]
2015-10-27 |  | 0.38 | 0.0201 | 0.0719 | 0.0739 | 0.059 | 0.1329 | 7.974 | 5.64 | 5.52 | 9.3 |  | 24.0779 | 94.6926 | 5.0087 | 0.29861 | 44.3943 | 21-22 | 47-44
[7 empty] | 0 | 0 |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | 0 |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | 0 |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | 0 |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | 0 |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | 0 |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2015-11-18 | 10:00 | 0.38 | 0.0201 | 0.0716 | 0.1822 | 0.117 | 0.2992 | 17.952 | 5.74 | 5.62 | 7.8 |  | 24.0776 | 94.6938 | 5.0088 | 0.29737 | 39.1043 | 20-21
2015-11-19 | 19:00 | 0.38 | 0.0201 | 0.0716 | 0.15 | 0.1709 | 0.3209 | 19.254 | 5.58 | 5.42 | 12.1 |  | 24.0776 | 94.6938 | 5.0088 | 0.29737 | 53.2565 | 20-21 | 60-57
2015-11-19 | 19:10 | 0.38 | 0.0201 | 0.0716 | 0.16 | 0.15 | 0.31 | 18.6 | 5.58 | 5.42 | 10.8 |  | 24.0776 | 94.6938 | 5.0088 | 0.29737 | 48.3871 | 20-21 | 55-52
[7 empty] | 0 | 0
RH et cetera calculator;
http://www.humidity-calculator.com/index.php