## Sheet1
RPC w/ optional orings fittings total | [6 empty] | Brass
| item | Part number | comments | # in 20 degrees | total number needed | Ian Check | order | Nos Spares | unit price | total price | Deivered 16May2013 | Used by ZEC early 2013 | Delivered to ZEC 12Dec2013 | Extra supplied by Ian 18 Dec 2013 | TOTAL with ZEC 18 Dec 2013
H | 1/4" valve w/side port | Apollo 7B-841-01 1/4" Ball valve w/SS ball & stem & port |  | 2 | 72 |  | 75 |  | 18.13 | 1359.75 |  | 36
I | readout valve | B&G #RV-125A Bell & Gossett Readout Valve |  | 2 | 72 |  | 0 |  | 5.81 | 0 |  | 48
J | 1/4" to barb | Parker #30182-4-4B 1/4" MPT to 1/4" hose barb |  | 2 | 72 |  | 75 |  | 1.69 | 126.75 |  |  | 98 |  | 98
K | 1/4" hose | Parker #831-4 1/4" Push-Lok hose (green preferred) |  | 29 | 1200.6 | 1044 | 1200 |  | 2.11 | 2532 | 1044 |  | ? |  | ?
L | 1/4" female O-ring | Parker # 3JC82-4-4B 1/4" barb to female o-ring |  | 3 | 108 | 108 | 125 | 17 | 16.32 | 2040 | 125 |  | 120 | 3 | 123
M | 1/4" male O-ring | Parker # 3J082-4-4B 1/4" barb to male o-ring |  | 3 | 108 | 108 | 125 | 17 | 16.55 | 2068.75 | 125 |  | 115 | 3 | 118
N | flare fittings | Parker #30382-5-4B+ 5/16" male 37 degree to 1/4" barb |  | 4 | 144 | 144 | 150 | 6 | 9.31 | 1396.5 | 150 |  | 143 | 3 | 146
O | sleeve | Parker #5-TX-B 5/16" Tube Sleeve, Brass |  | 4 | 144 | 144 | 150 | 6 | 0.93 | 139.5 | 150 |  | 145 | 2 | 147
P | nut | Parker #5-BTX-B 5/16" Tube Nut, Brass |  | 4 | 144 | 144 | 150 | 6 | 0.94 | 141 | 100 |  | 144 | 2 | 146
Q | 3/8" to barb | Parker #30182-6-4B 3/8" MPT to 1/4" hose barb |  | 1 | 36 | 36 | 40 | 4 | 4.36 | 174.4 | 40 |  | 36 | 4 | 40
R | flow restrictor | Hayes Mesurflo #2305-1021 1/4" flow regulator (0.5 GPM) | Remove bushing | 1 | 36 |  | 40 |  | 14.4 | 576 |  | 18
S | 1/4" coupler | Parker #216-4 1/4" Hex Nipple |  | 1 | 36 |  | 40 |  | 1.09 | 43.6 |  | 18
total | [9 empty] | 10598.25