## Sheet1
Cable destinations in the GIF++ Experimental area
[10 empty] | Ian Crotty | 2014-12-19
See sheet 2 for checks on Signal cables
|  | Signal |  |  |  | DCS 10 channels per cable
|  | Total Quantity | Down Stream | Upstream | Prep. Zone | Total Quantity | Down Stream | Upstream | Prep. Zone
[6 empty] | 3 | 1 | 1 | 1 |  |  | The signal series is contiguous but not logical
|  | 70 | 38 | 30 | 2
|  |  | 0035 | 0026 | 0027 |  | No.2 | No.1 | No.3 |  |  | ie | Labels | Logic with 4 digits
|  |  | 0029 | 0032 | 0068
|  |  | 001 | 0034 |  | LV 4 channels per cable | [6 empty] | 001 | 0001
|  |  | 0040 | 0016 |  | Total Quantity | Down Stream | Upstream | Prep. Zone |  |  |  | 002 | 0002
|  |  | 0019 | 006 |  | 10 | 5 | 5 | 1 |  |  |  | 003 | 0003
[13 empty] | 004 | 0004
|  |  | 008 | 0036 |  |  | 5 | 1 | ?? |  |  |  | 005 | 0005
|  |  | 0052 | 0011 |  |  | 6 | 2 |  |  |  |  | 006 | 0006
|  |  | 0031 | 002 |  |  | 7 | 3 |  |  |  |  | 007 | 0007
|  |  | 0047 | 0042 |  |  | 9 | 4 |  |  |  |  | 008 | 0008
| Difficult to read |  | 0049 | 0039 |  |  | 10 | 8 |  |  |  |  | 009 | 0009
[13 empty] | 0010 | 0010
|  |  | 003 | 0013 | [8 empty] | 0011 | 0011
|  |  | 0020 | 0070 |  | HV 20 channels per cable | [6 empty] | 0012 | 0012
|  |  | 0041 | 0021 |  | Total Quantity | Down Stream | Upstream | Prep. Zone |  |  |  | 0013 | 0013
|  |  | 0064 | 0059 |  | 3 | 1 | 1 | ?? |  |  |  | 0014 | 0014
|  |  | 0044 | 007
[7 empty] | No. 2 | No. 1 | ??
|  |  | 0069 | 0012
|  |  | 0051 | 0045
|  |  | 0053 | 0015
|  |  | 0046 | 0033
|  |  | 0061 | 0038
|  |  | 0048 | 0017
|  |  | 0062 | 033
033 and 0033 !! |  |  | 0056 | 018
|  |  | 0066 | 0037
|  |  | 0057 | 004
|  |  | 0028 | 0010
|  |  | 009 | 005
|  |  | 0055 | 0022
|  |  | 0025 | 0014
|  |  | 0060 | 0024
0058
0030
0065
0067
0050
0054
0043
0063

## Sheet2
Check on contiguous series, it is not perfect but understandable. !!
|  |  | D Stream |  | Up Stream | Prep Zone
1 |  |  | 001 |  | 0026 | 0027 |  | Down Stream
2 |  |  | 0010 |  | 0032 | 0068 |  | I2C
3 |  |  | 0011 |  | 0034 |  |  | Side rack, shorter cable,without connector.
4 |  |  | 0012 |  | 0016 |  |  | Side GIF without connector
5 |  |  | 0013 |  | 006 |  |  | tot.= 1 cable
6 |  |  | 0014 |  | 0036
7 |  |  | 0015 |  | 0011
8 |  |  | 0016 |  | 002 |  |  | Up Stream
9 |  |  | 0017 |  | 0042 |  |  | I2C
10 | 0018 |  | 0019 |  | 0039 |  |  | Side rack, longer cable, without connector.
11 |  |  | 002 |  | 0013 |  |  | Connector side only gif
12 |  |  | 0020 |  | 0070 |  |  | tot.= 1 cable
13 |  |  | 0021 |  | 0021
14 |  |  | 0022 |  | 0059
15 | 0023 |  | 0024 |  | 007 |  |  | 033 must be the 0023
16 |  |  | 0025 |  | 0012 |  |  | 018 must be the 0018
17 |  |  | 0026 |  | 0045
18 |  |  | 0027 |  | 0015 |  |  | Nota. Clash with 3 and 4 digt numbers !
19 |  |  | 0028 |  | 0033
20 |  |  | 0029 |  | 0038
21 |  |  | 003 |  | 0017
22 |  |  | 0030 |  | 033
23 |  |  | 0031 |  | 018
24 |  |  | 0032 |  | 0037
25 |  |  | 0033 |  | 004
26 |  |  | 0034 |  | 0010
27 |  |  | 0035 |  | 005
28 |  |  | 0036 |  | 0022
29 |  |  | 0037 |  | 0014
30 |  |  | 0038 |  | 0024
31 |  |  | 0039
32 |  |  | 004
33 |  |  | 0040
34 |  |  | 0041
35 |  |  | 0042
36 |  |  | 0043
37 | 2x 0045 |  | 0044 | One of the 0045 must be the missing 0049 |  |  | Confirmed
38 |  |  | 0045
39 |  |  | 0045
40 |  |  | 0046
41 | 0049 |  | 0047
42 |  |  | 0048
43 |  |  | 005
44 |  |  | 0050
45 |  |  | 0051
46 |  |  | 0052
47 |  |  | 0053
48 |  |  | 0054
49 |  |  | 0055
50 |  |  | 0056
51 |  |  | 0057
52 |  |  | 0058
53 |  |  | 0059
54 |  |  | 006
55 |  |  | 0060
56 |  |  | 0061
57 |  |  | 0062
58 |  |  | 0063
59 |  |  | 0064
60 |  |  | 0065
61 |  |  | 0066
62 |  |  | 0067
63 |  |  | 0068
64 |  |  | 0069
65 |  |  | 007
66 |  |  | 0070
67 |  |  | 008
68 |  |  | 009
69 |  |  | 018 | These two must be 0018 and 0023
70 |  |  | 033