## Slide 1: Services in GIF++ HV Cables LV cables DCScables Signal Cables Cooling Ian Crotty 7 Nov 2014

## Slide 2: Preparation zone
Signal Cables (x2, Ø10mm)
HV cables (x1, Ø40mm)
LV (x1, Ø10mm)
I2C (x1, Ø10mm)

## Slide 3
Cables coming up through hole in floor
Signal Cables (x38 , Ø10mm)
HV cables (x1, Ø40mm)
LV (x5, Ø10mm)
I2C (x1, Ø10mm)
Down stream Cabling

## Slide 4: Up stream Cabling
Cables coming up through floor
Signal Cables (x30 , Ø10mm)
HV cables (x1, Ø40mm)
LV (x5, Ø10mm)
I2C (x1, Ø10mm)

## Slide 5: Readiness

## Slide 6: Readiness
HV Cut to length , needs connectors and testing
LV Cut to length , needs connectors and testing
DCS In stock in 904 and P5
Signal Ready but need protection
Cooling No plans

## Slide 7: GIF++ Status
Source Platform
Beam Line

## Slide 8: GIF++ Status
Cable Trays for users
Ethernet
Slot for cables to come on top of the floor

## Slide 9: GIF++ Status
Gas Panels upstairs
Flammable gas Panel
Gas panel inside

## Slide 10: GIF++ Status
Access ofr source next week
Sliding platform for source and “Cosmic Floor”