## Slide 1: Measuring water flow rate in a cheap, visible and remote way. A web scan.
Ian
21 Feb 2022

## Slide 2
Specification
10 Bar
1-20 or 30litres/min
Visible indication
Remote read out
Hall sensor effect principle, shown below, or other ultrasonic or induction, magnetic etc
Either one flow meter on the main supply (1/2 inch)
OR
Individual flow meters on each channel (x4 - 6) ¼ inch

## Slide 3
Amazon.com : DIGITEN Water Flow Control Meter LCD Display Controller+G1/2" Water Hall Sensor Flow Meter Flowmeter

## Slide 4
https://www.amazon.com/DIGITEN-Controller-Flowmeter-Solenoid-Normally/dp/B07GSVHCQL/ref=sr_1_17?keywords=water+flow+meter&qid=1645450395&sr=8-17

## Slide 5
https://www.digiten.shop/collections/all/flow-sensor

## Slide 6
https://www.digiten.shop/products/digiten-lcd-display-water-flow-quantitative-controller-g1-2-water-hall-sensor-flow-meter-g1-2-solenoid-valve-normally-closed-n-c-dc-12v-power-adapter

## Slide 7
https://www.ebay.fr/itm/363646871139?hash=item54ab0ae663:g:MnIAAOSw2pdhrdeX

## Slide 8
Amazon.de
digiten water flow control meter lcd display controller+g1/2" water hall sensor flow meter flowmeter

## Slide 10
https://www.ebay.de/itm/403516214847?hash=item5df370ce3f:g:iR8AAOSwarliIejG

## Slide 11
DFC-15 display controller
https://www.youtube.com/watch?v=flKF1XBcqxA
https://www.youtube.com/watch?v=6-gJct83VoY

## Slide 12
https://www.youtube.com/watch?v=7WLoF_r4iBk
https://www.youtube.com/watch?v=4NL3kafvivE

## Slide 13
https://www.youtube.com/watch?v=uBgzk3QQFcw

## Slide 14
https://www.youtube.com/watch?v=y841yf-WjqE
With Arduino………….?

## Slide 17
Rota meters, (gas style)

## Slide 18
https://www.amazon.com/Uxcell-a11072800ux0014-Black-Adjustable-LZM-15/dp/B00CZ6ISSI/ref=pd_sbs_2/130-4343368-5261224?pd_rd_w=nRuOr&pf_rd_p=3676f086-9496-4fd7-8490-77cf7f43f846&pf_rd_r=2MWTX38RKCKYYC8DJ1JP&pd_rd_r=74d28982-0d24-42db-b77d-bfdf356b86aa&pd_rd_wg=zbyOn&pd_rd_i=B00CZ6ISSI&psc=1

## Slide 20
https://www.khanehab.com/Upload/13960722-17073136.pdf

## Slide 21
https://horecatiger.eu/en-eu/shop/flow-meter-thread-1/4-stainless-steel-with-led-400004?gclid=EAIaIQobChMIx83eyoCR9gIVFoxoCR1IugkvEAQYAyABEgLu6fD_BwE
Hotline 00800 19144750 (8.30-14.30) info@horecatiger.eu

## Slide 22
https://www.heiz24.de/Flow-meter-male-thread-1-Flow-rate-2-12lmin-New?curr=EUR&gclid=EAIaIQobChMIx83eyoCR9gIVFoxoCR1IugkvEAkYBSABEgJ9R_D_BwE

## Slide 23
https://www.heiz24.de/Flow-meter-1-4-lmin-34-Euro-cone-connection-NEW

## Slide 24
https://flowmeters.co.uk/?gclid=EAIaIQobChMI7dW32ISR9gIVXpBoCR2PhAqXEAMYASAAEgKnDfD_BwE

## Slide 25
Titan Enterprises Ltd
https://flowmeters.co.uk/?gclid=EAIaIQobChMI7dW32ISR9gIVXpBoCR2PhAqXEAMYASAAEgKnDfD_BwE
Titan
Unit 2, 5A Cold Harbour Business Park, Sherborne, Dorset, DT9 4JW
Telephone +44 1935 812790

## Slide 26
Titan uk
Calibrated for each meter 6 point plot. With NPN std output.
800
60-70 gbp
900 or threads
Pvdf or ss 260gbp
Contact France
DA & T
Contact: Claude Bordes
debitmetrie@debit-at.com
Za Vallon Du Revol, 246 Rue Marcel Pagnol,
La Tour D’Aigues,
84240
France
T: +33 490794290
W: www.debitmetrie-dat.com

## Slide 27
https://jlcinternational.com/an-introduction-to-pulse-output-flowmeter-devices/

## Slide 30
https://www.gemssensors.com/docs/default-source/resource-files/catalog-pages/catalog-f_ft110-series.pdf?Status=Master&sfvrsn=178e9bc2_6

## Slide 31
Débitmètre RS PRO pour Liquides, 0,6 l/min à 10 l/min, raccord 3/8 pouce enfichable
Code commande RS511-4772

## Slide 32
Kyrio
YF-85 OR YF-B5
ELE004-2P
1 – 30l/min

## Slide 33
https://www.amazon.co.uk/dp/B07QLPBFZ3/ref=sspa_dk_detail_3?psc=1p13NParams&smid=A3IC2CSO4IMDZR&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUFKSzUyQ0lDSThBRUwmZW5jcnlwdGVkSWQ9QTEwNDgxNzExM1E2TFcySjA2UTA1JmVuY3J5cHRlZEFkSWQ9QTA0MzEwOTgyVFJZQ09PWDIzUE5VJndpZGdldE5hbWU9c3BfZGV0YWlsMiZhY3Rpb249Y2xpY2tSZWRpcmVjdCZkb05vdExvZ0NsaWNrPXRydWU=
Model CF-B10
Digiten

## Slide 36
GR-302
Gredia

## Slide 37
https://fr.lightmalls.com/yf-g1-plastic-water-flow-dn25-hall-sensor-flowmeter-counter-black?gclid=EAIaIQobChMI9ojv_sqR9gIVRPhRCh3Njg67EAYYBCABEgKQoPD_BwE

## Slide 39
https://www.youtube.com/watch?v=-RvwXGzzv4c

## Slide 40
https://www.distrelec.ch/Web/Downloads/_t/ds/RFI-RFO-RFS_eng_tds.pdf

## Slide 42
Conclusions
Digiten seems to produce flow rate devices with electronic readout at a cheap cost
Many other manufactures have similar devices, hall effect etc, at ~ 10x the cost.
The unknowns are reliability and risk of leak. The brass ones should not leak even with the 10 Bar.
Visual versions are available with electronic readout.

## Slide 44
There are many others
PUSOKEI Flow Meter Indicator, G1/4 Inch Threaded Water Cooling Flow Meter with LCD Display, Support Dynamic Impeller Speed Display, for PC Water Cooling System: Amazon.de: Computer & Accessories
Cnbtr Plastic Water Schwebekörper Flow Sensor Liquid Flow Meter DN15 Tube, multicolour : Amazon.de: DIY & Tools
fasient1 Digital Water Cooling Flow Meter LCD Display Water Cooler Flow Indicator Electric Detection Thermonmeter Monitoring: Amazon.de: Computer & Accessories
5000 Series Digital Flow Meters | TSI
Yf-S402 Water Flow Sensor, Water Flow Sensor, 0.3-6 L Stable Performance Capture the influence for Water Cooler, Coffee Machine and Water Filter : Amazon.de: Business, Industry & Science
THIS IS BAD
Thermaltake Pacific TF2 Temperature and Flow Indicator : Amazon.fr: Informatique
Thermaltake Pacific TF2 Temperature and Flow Indicator : Amazon.fr: Informatique
VBESTLIFE Compteur d'eau, Refroidisseur de Refroidisseur de PC Refroidisseur d'eau en Alliage d'aluminium de l'indicateur G1/4 pour Le système de Refroidissement par l'eau de PC(灰色) : Amazon.fr: Informatique
Indicateur de Débit d'Eau en Métal Capteur de Débit de Refroidissement G1/4 avec 5 Pales pour Ordinateur pour PC Refroidissement par Eau : Amazon.fr
ExcLent Lcd Display Digital Flow Meter+Brass Flow Sensor Temperature Measuring Yf-B7 Hall Sensor Meter Switch : Amazon.fr: Bricolage
Cnbtr Plastic Water Schwebekörper Flow Sensor Liquid Flow Meter DN15 Tube, multicolour : Amazon.de: DIY & Tools

## Slide 45
https://www.amazon.fr/D%C2%A8%C2%A6bitm%C2%A8%C2%A8tre-liquide-Rotameter-plastique-CNBTR/dp/B072XF4ZMD
D¨¦bitm¨¨tre liquide 16-160L / H de Rotameter LZS-15 de tube en plastique de CNBTR pour le tube DN15 : Amazon.fr: Bricolage
Display meter selfcontained se Digiten
turbine flow meter with battery operated counter – YouTube
magnet flow meter
How to Measure Flow with Magnets - (Magnetic Flow Meters) - YouTube
How to Measure Flow with Magnets - (Magnetic Flow Meters)
Water Flow Rate & Volume Measurement using Water Flow Sensor & Arduino
Water Flow Rate & Volume Measurement using Water Flow Sensor & Arduino - YouTube
Read out method for pulsed meters
IoT Water Flow Meter using NodeMCU ESP8266 & Water Flow Sensor | Measure Water Flow Rate & Volume - YouTube
IoT Water Flow Meter using NodeMCU ESP8266 & Water Flow Sensor | Measure Water Flow Rate & Volu35,416 views
Jul 9, 2020
What of flow meters normally for gas but calibrated for water..............!!
Flow Meters | Ultrasonic Flow Meters, Clamp-on and Fixed Flow Meters (micronicsflowmeters.com)
Flow Indicators and Sight Glass Fittings from Visilume Archive | Visilume | Sight Glasses
No. 2, South Section of Gongye Road, Xiangfu District, Kaifeng City, Henan Province
http://www.ydflowmeter.com/pic/LZT.pdf
未命名 -2 (ydflowmeter.com)

## Slide 46
In the UK
Ultrasonic Water Meters & Water Meters from Micronics (micronicsflowmeters.com)
Portaflow 222 - Ultrasonic Clamp on Flow Meter from Micronics (micronicsflowmeters.com)
Page not found - Micronics (micronicsflowmeters.com)
LZT M-15 2.0 GPM 1/2BSP Water Liquid Flow Measuring Panel Type Flowmeter | eBay
YF-S201 Hall Effect Water Flow Meter / Sensor (hobbytronics.co.uk)
LZT M-15 0.5-5GPM 2-18LPM Water Liquid Flow Meter Measuring Panel Type Flowmeter 712662694328 | eBay
LZT M-15 Flowmeter,Saim 0.1-1GPM 0.5-4LPM Water Liquid Flow Meter Tool Flowmeter Instrument- Buy Online in Oman at Desertcart - 52726122.
Titan, Liquid Flow Meters, Small Bore Flow Sensors & Flow Measurement
5GPM Inline water flow meter for liquid flowmeter (alibaba.com)
https://flowmeters.co.uk/turbine-flowmeters-overview/
Youtube
Digiten DFC15 Liquid Flow Controller -Installation, Setup, and Accuracy Test - YouTube
Digiten DFC15 Liquid Flow Controller -Installation, Setup, and Accuracy Test
DIGITEN DFC15 FLOW LIQUID CONTROLLER OPERATION VIDEO - YouTube
https://www.google.ch/search?q=DIGITEN+Water+Flow+Control+Meter+LCD+Display+Controller%2BG1%2F2%22+Water+Hall+Sensor+Flow+Meter&source=hp&ei=c5UTYtyeEayUlwSQqomgCA&iflsig=AHkkrS4AAAAAYhOjg-oY-dFfm3S7yP-BfR0uO2d1d-3U&ved=0ahUKEwicpLmZ9ZD2AhUsyoUKHRBVAoQQ4dUDCAs&oq=DIGITEN+Water+Flow+Control+Meter+LCD+Display+Controller%2BG1%2F2%22+Water+Hall+Sensor+Flow+Meter&gs_lcp=Cgdnd3Mtd2l6EAxQAFgAYLEQaABwAHgAgAFqiAFqkgEDMC4xmAEAoAECoAEB&sclient=gws-wiz
DIGITEN Water Flow Control Meter LCD Display Controller+G1/2" Water Hall Sensor Flow Meter - Google Search