Up date on Infrstructure for GIF++

Cabling work last week

All DCS have connectors meaning both Preparation and upstream are operational  (HV,LV,DCS and signal) in terms of cables. Gas inspection this week

Additional cables

Current measurement  for 10 chambers

Power for XY tables (s)

Camera video and power for X-Y table

Gas kill cable. Path,  length, supply and installation

Down Stream

HV cable umbilical to move from 610.

DCS

LV

Signal cables

Cable to control room ?

HV cables for Scintillators

Signal cables for PMT.

Infrastructure

Move cable tray and cables from D_Stream to U-Stream. Planned fro Thursday.

X-Y tables (Cosmic stand) and R&D

Long Term table ONLY 4 chambers at beam height.

Safety

ISIEC the old version not accepted. New one sent Monday  23 March 2015

Inspection with Bruno Plicher.

Ian Crotty  21 March 2015