## Slide 1: Some material for your presentations. I hope it fits your needs Ian

## Slide 2: RB temperatures for 1 year, down by 0.3 ˚C since Oct last year

## Slide 3: RE temperatures down by 0.3 – 0.9˚C over one year

## Slide 4: RH upper limit increased since last year

## Slide 5: Pressure in UXC since1 year showing sudden changes that are dealt with in the gas system even if there is a power cut due to the passing storm.

## Slide 6: Chambers are cooler than last year also largely due to a substantial reduction (21.24- 19.97 = 1.27˚C)of the ambient UXC temperature